# Emergency Sheltering, Relocation and Evacuation Plan for [Company]
Template From MDH—Version 5

Updated: 03/01/2020

Contents

Purpose	4

Scope	4

Objectives	4

Hazard Vulnerability Assessment	4

Possible Actions and Definitions	5

Factors Influencing Actions	5

Action Timing	5

Action Types	6

Direction and Control	6

HICS Forms	9

Job Checklists	9

Communications	9

Coordination with External Agencies	9

Sheltering in Place (SIP)	10

Relocation	10

Evacuation	11

Incident Command Actions	12

Ambulatory Care Actions	12

Inpatient Care Actions	12

Non-Patient Care Area Actions	13

Evacuation of Staff with Disabilities	13

Staging Areas	13

External Transportation	14

Patient Triage, Tagging, Documentation, and Movement	14

Triage and Prioritization	14

Patient Tagging and Documentation	15

Patient Movement Methods	16

Safety and Security	16

Facility Operations, Shut Down, Recovery and Stay Team	16

Review, Authorities, References	17

Appendix 1: In-Patient Unit Specific Actions	18

Appendix 2: Support and Administration Specific Actions	20

Appendix 3: Evacuation Considerations—Disabilities	22

Appendix 4: Command Staff Check List	24

Appendix 5: Triage Officer Checklist—Evacuation	27

Appendix 6: Evacuation Staging Manager Checklist	28

Appendix 7: Evacuating Staging Team Member Checklist	31

Appendix 8: Evacuation Pre-Event Time Assessment and Decision Tool	32

Pre-Event Evacuation Time Assessment	32

Pre-Event Evacuation Decision Tool	35

Appendix 9: Supplies	39

Unit Supplies	39

Pharmacy Evacuation Cache	39

Staging Supplies	40

Appendix 10: Considerations for Facility Shut Down and “Stay Team” Activities	42

Acronym List	43

References	43

Acknowledgements	44

## Purpose

The purpose of this plan is to assist in activating sheltering, patient relocation, or partial or full evacuation of [Company]. The responsible individual for content and implementation of this plan is the Chief Executive Officer and/or designee for [Company].

This plan informs actions taken to shelter, relocate (within the facility) or evacuate (external to the facility) patients and personnel. These actions may be driven by many incidents and situations. The overall management of the incident and recovery are the responsibility of the incident commander. Reimbursement tracking, restoration, business continuity, and recovery activities must be conducted in concert with patient protection and movement and are not included in this plan.

[Company] will maintain procedures in order to manage internal and/or external situations which pose a threat to the environment of care or present a life safety threat. Additional personnel may be required to conduct these operations. [Company] will assign personnel to this task including internal staff and external according pre-existing agreements with other facilities (compacts), local First Responder agencies and/or other entities (medical reserve corps, etc.) with resources.

This plan was developed in conjunction with the Choose an item. to ensure a consistent approach across the region.  Plans have been cross-walked against applicable Joint Commission, Occupational Safety and Health Administration (OSHA), Center for Medicare and Medicaid Services (CMS), and other regulations to assure compliance.

## Scope

This plan is a supplement to, not a replacement for, the response actions and resources described in the facility Emergency Operations Plan (EOP) and provides additional details relevant to an incident that involves facility sheltering, relocation, or evacuation.

## Objectives

The objectives of this plan is to:

Define key terms,

Identify the direction and control systems for the coordination of an evacuation or protective actions,

Provide algorithms for decision-making,

Describe key communications components,

Identify the steps of the facility evacuation process, and

Identify responsibilities of outside agencies and their activation.

## Hazard Vulnerability Assessment

[Company] has tailored this plan according to the latest facility Hazard Vulnerability Assessment (HVA) in respect to the hazards which would likely impact the environment of care. The potential hazards which are most likely to impact the facility and force sheltering, patient relocation, and/or evacuation are:

Weather emergencies – tornado

Hazardous materials events

Community based major utilities or systems failures

Flooding – internal or external

Structural damage

[Company] Hazards and Vulnerabilities

  - Special Vulnerabilities According to Specialty Functions

    - Click or tap here to enter text.

    - Click or tap here to enter text.

    - Click or tap here to enter text.

  - Water (potable and non-potable)

  - Steam

  - Electricity

  - Gas

  - Boilers/chillers

  - Powered life support equipment

  - Information technology/communications

  - Security

  - Location of the facility in relation to receiving hospitals with appropriate capacity/capability (e.g. NICU capability)

Pre-event Mitigation actions have been undertaken to help minimize the impact of each of these types of emergencies on the facility systems. The [Company] HVA and Pre-Disaster assessment as well as information about mitigation actions are available upon request.

## Possible Actions and Definitions

### Factors Influencing Actions

Incident Command staff will have to balance the needs, and the time and resources available to meet the needs to determine which of the following strategies is appropriate.

### Action Timing

Pre-event Actions: Occur in advance of the event (for example, staged evacuation in advance of flooding, sheltering in place)

Post-event actions: Occurs after an event. Post-event actions may be:

  - Emergent—Undertaken immediately and with limited ability to stage patients, transfer records, etc.

  - Urgent—Undertaken after assessment of an evolving threat or after considerations of risk posed by the impact of the event, usually within 4-8 hours after an event occurs

### Action Types

- Shelter in Place (SIP): Shelter in place assures the maximal safety of individuals in the present location when the dangers of movement exceed the relative risk from the threat or movement cannot be safely completed in a reasonable timeframe. Shelter in place decisions must be made in relation to the risk to the patient—a patient undergoing cardiac surgery at the time of the threat would be moved only the direst situation. Similarly, intensive care unit patients should be moved only in extreme circumstances, but outpatient clinics may be easily evacuated. SIP decisions are not, therefore, necessarily applied to the entire facility. However, in situations where the external environment is the threat (e.g. chemical cloud) protective actions may be taken to protect the facility at large.

- Internal Patient Relocation: Movement of patients to an area of relative safely in response to a given threat or movement to staging areas within the institution in preparation for evacuation.

  - Horizontal—Movement to a safe location on the same floor, preferably nearer to an emergency exit. For example, movement to the next smoke compartment during a fire.

  - Vertical—Movement of individuals to a safe location on a different floor when a horizontal evacuation cannot meet the service or safety needs of the patients or is unsafe.

- Evacuation: Movement of patients out of the affected facility when the facility cannot maintain a safe environment of care. Evacuations may be emergent or non-emergent.

  - Partial evacuation—Evacuation of a subset of facility patients. This may involve patients requiring specialized care that can no longer be safety delivered at the affected facility.

  - Complete evacuation—Complete evacuation of a facility due to an unsafe environment of care. Usually, this will involve facility shutdown actions.

## Direction and Control

All personnel are authorized to take immediate patient relocation or sheltering actions in response to a life safety emergency.

All non-emergent patient movement or evacuation decisions should be made by the Incident Commander after initial situation assessment (see algorithm below) according to the facility EOP and personnel appointed under the Hospital Incident Command System (HICS).

If an evacuation is suggested by local authorities, [Company] will collaborate with local officials and assist in the coordination of the facilities evacuation to the degree safely possible - though this may not necessarily involve a complete evacuation depending on the timeframe and risk of the threat compared to the risk to the patients.

The incident commander will determine the HICS structure for the incident:

If evacuation is the incident at the facility (anticipated evacuation for flooding): Operations Chief may supervise evacuation activities.

If evacuation is due to another incident at the facility: Evacuation Branch Director should be appointed to supervise (see example below for a partial HICS chart reflecting a fire requiring evacuation).

Each facility may wish to map out the division and unit assignments prior to an event as they will be consistent regardless of whether an Evacuation Branch Director is used.

The decision tree below can be used to assist in decision making regarding sheltering, relocation, and evacuation, though this is not meant to account for all circumstances.

Figure 1: Sheltering, Relocation, and Evacuation Decision Tree

Incident Occurs, Initial Assessment Completed

Incident Commander (IC) assesses situation. Potential life threat over expected duration of event?

Shaded boxes = Unit Level Decisions

White Boxes = Incident Command Level

Other response actions per IC

Imminent Threat?

Based on resources available, duration, and threat assessment determine sheltering place or relocation actions

Entire Facility Affected?

Evacuation safer for patients/residents compared to sheltering in place? (Threat duration and impact)

Shelter In Place–Proactive Actions

- Weather – close drapes, move away from windows, announce to staff/visitors.

- HAZMAT – changes to ventilation supply/exchange, access controls

- Security (bomb, shooting, civil unrest) – access controls, doors/curtain closures, take cover actins if needed

Affected units shelter in place or relocate at decision of unit Charge RN/Supervisor to adjacent closet safe area (horizontal preferred, vertical secondary)

Complete Evacuation

Can Relocated patients/residents be safely cared for over time?

Other actions per IC

Partial Evacuation

Evacuation (See unit evacuation guide and facility checklist for detailed guidance):

- Notifications – Internal/external (EMS, RHRC also)

- Access controls and supplemental security.

- Staging/transport areas identified.

  - Staffing – triage, loaders

  - Supplies – water, crash cart, food, linens

- Unit tracking/triage for transport

- Medical records (see unit evacuation guide)

- Visitors and staff accountability

- Patient/resident movement – ambulatory, step down, stable, non- ambulatory, critical in order to staging, reverse for transport

- Clear Units

- Facility Shut down/Stay team

Life Threat?

Yes

Yes

Yes

Yes

Yes

NO

NO

NO

NO

NO

NO

### HICS Forms

HICS Forms are located online through the Center for HICS Education and Training at: http://hicscenter.org/SitePages/HICS%20Forms.aspx. The HICS 255 Form—Master Patient Evacuation Tracking—is recommended during an evacuation response in addition to contacting the Choose an item. to activate the regional Patient Tracking Plan.

### Job Checklists

Job checklists for incident command positions associated with evacuation operations are located in the appendices.

## Communications

Internal notification and partner communications should be conducted according to the EOP. Key considerations in hospital evacuations include, but are not limited to:

Staff: Notification to internal and external staff of potentially unsafe situation(s) at the facility. If evacuation activities are possible, an ‘evacuation standby’ notification should be made as soon as possible so that units may begin accessing appropriate supplies and collecting belongings and records.

Patient Families: Notification of patient families of patient evacuation destinations.

Medical Providers: Notification to medical providers their patients are being evacuated and their destination facility.

Public Safety: Communication links to facilitate coordination with public safety agencies (security and traffic control), EMS and other transport providers (buses, etc.), and fire agencies (lifting assistance).

Media: Public information reflecting the capabilities of the facility.

## Coordination with External Agencies

Coordination with external agencies is critical to planning what to do as things change rapidly. Health care facilities must continue to update their decisions based upon information provided by other agencies - for example, knowing the duration of the chemical cloud, or a power outage is crucial to continued decision-making about sheltering vs. evacuation.

- Shelter in place and internal patient movement: Facility Incident Command must establish communication links; appoint liaisons as needed to assure a common operating picture, and adequate situational awareness to facilitate ongoing decision-making (fresh air intake, access controls, etc.)

Evacuation: Facility Incident Command must establish coordination with:

  - Security/public safety – to provide appropriate traffic controls.

  - Transportation – EMS regional coordination entity or local EMS dispatch should be contacted and appropriate liaisons established to assure that adequate transportation capacity (buses, WC vans, ambulances) can be delivered.

  - The Choose an item. should be notified in any actual or anticipated case of evacuation involving more than a few patients.

  - Destination coordination – The evacuating facility is responsible for assuring transportation to a receiving facility that is capable of providing the necessary, on-going patient care. Except in cases of movement of a few specialized patients, the Choose an item. may be called on to assist and will work with the facilities in the region. If needed, the Choose an item. can contact the Minnesota Department of Health (MDH), Center for Emergency Preparedness and Response (CEPR) to assist destination mapping for evacuated patients. Evacuating facility will work with EMS and the Choose an item. to assure coordination of information/patient tracking.

## Sheltering in Place (SIP)

When the threat does not permit safe relocation or evacuation, the following actions may be taken. Patient care and administrative units are authorized to initiate these actions upon recognition/notification of threat (in conjunction with notification of supervisors or other actions under the EOP. Situations where SIP may be appropriate include:

Weather—wind, hail, or tornado threat

  - Move patients and staff away from windows

  - Close drapes and exterior doors/windows

  - Assure staff and visitors also advised of weather situation

Security emergency—bomb threat, active shooter, external civil unrest

  - Implement department specific access controls

  - Close smoke compartment doors, patient room doors, and office doors

  - Implement take cover measures as necessary

  - Assure staff and visitors are aware of situation

HAZMAT incident—sheltering usually relevant to external plume of chemical

  - Shut down air intake into the ventilation system

  - Security to implement access controls as needed

  - Assure visitors and staff aware of threat

If SIP is for an extended period of time, to ensure adequate staffing, it may be necessary to have staff and their families housed at the facility. Additional resources and staffing may need to be reassigned to this area as well. This is mentioned as a consideration as it may allow for additional staff to be present and not worry about their family situation.

## Relocation

Units may have to re-locate patients and staff in relation to a threat. Primary and secondary locations are listed in summary below. More complete information is available in the individual unit evacuation plans.

Unit supervisors and charge nurses are authorized to initiate patient re-location in response to an imminent threat. Re-location does not involve formal gathering of medical records or triaging of patients. Ambulatory patients should be assisted to the new location and non-ambulatory patients moved on beds, carts, or via canvas/blanket carry.

Once patients/residents are in a place of safety, the facility plan should be instituted and further movement would be delegated by roles designated in the facility plan. Movement to staging area is authorized only with orders from Incident Commander or appropriate section chief and should be conducted according to evacuation plans/section below.

Table 1: Relocation and Evacuation Areas per Facility Unit

| Unit Name | Beds | Unit Locked | Specialized Equipment | Primary Relocation | Secondary Relocation | Staging Area for Evacuation |
| --- | --- | --- | --- | --- | --- | --- |
| Med-Surge |  |  |  |  |  |  |
| Adult ICU |  |  |  |  |  |  |
| PICU |  |  |  |  |  |  |
| NICU |  |  |  |  |  |  |
| Emergency |  |  |  |  |  |  |
| Psych |  |  |  |  |  |  |
| Pharmacy |  |  |  |  |  |  |
| Lab |  |  |  |  |  |  |
| Administration |  |  |  |  |  |  |

## Evacuation

Incident commander must authorize evacuation when specific patient units or the facility are unsafe for continued occupancy due to compromised structure or services.  Evacuations may include:

Partial – initiated for a subset of facility patients whose needs cannot be met by the facility or in anticipation of flood or other threat to that unit/area. Often, a partial evacuation is for patients with specialized needs (ICU).

Complete – a threat poses a major danger to all occupants and complete evacuation is required to assure patient and staff safety (fire, flooding, structural damage)

Unit specific checklists should be developed to assist in the operation of evacuation. These checklists are not all-inclusive list as additional items may be added. The following summarizes core responsibilities during an evacuation. (Units that have an imminent threat to patient/resident safety must first move patents/residents to a place of safety according to facility plan and then contact supervisors per facility EOP.)

### Incident Command Actions

Also See Checklist: Operations/Medical Care Branch

- Analyze threat and determine that evacuation is required for patient/staff safety.

- Activate any appropriate facility response plan alerts.

- Notify facilities, safety/security and appoint Safety Officer, Infrastructure Branch Director if not already appointed. Depending on facility size and incident impact, consider an Evacuation Branch Manager (less applicable when the evacuation is the IC focus, more applicable when the incident is the IC focus – for example, fire at the facility).

- Appoint Staging Manager (see Staging Manager Job Aid).

- Notify affected units (or entire facility) of need to triage and move patients to staging areas.

- Notify local EMS agencies and patient transportation resources according to need (see table below)..

- Notify the Choose an item. and local hospitals according to compact or other agreements.

- Appoint Transportation Manager (see Transportation Manager Job Aid) – to identify vehicle staging area, assure adequate transport resources requested, assure outgoing patients, equipment, and staff recorded.

- Task Planning Section Chief with identifying destinations for patients and tracking departure and arrivals as well as assuring medical record transfer.

- Monitor patient movement and staging/transportation actions and arrangements for transfer.

- Assure Public Information Officer (PIO) appointed to convey facility status and inform staff, patient families, and medical providers of the situation.

- Recognize that staff should be prepared for the possibility of accompanying patients/residents to receiving facilities. In some instances, it may be necessary for staff to stay with patients/residents at the receiving facility since receiving facility may have enough beds but not enough staff.

### Ambulatory Care Actions

- Recognize unit-based threat or receive evacuation instructions from incident commander and move patients/residents and staff from area to rally point.

- Account for staff, assure patients/residents have transport home/back to point of origin.

- Sweep area for remaining persons, closing doors and placing sticker/tape on each door across the door and jamb indicating ‘room clear’.

- Report unit clear to Medical Care Branch Director/Incident Command.

### Inpatient Care Actions

- Recognize unit-based threat or receive evacuation instructions from incident commander or authorized personnel according to facility plan and move patients/residents and staff from area to re-location point (horizontal first, then vertical per unit plan) or to staging according to threat/instructions.

- Assure belongings and appropriate records accompany patient (see below) depending on immediacy of threat.

- Account for patients at staging/re-location point.

- Account for staff at rally point after patients transferred.

- Sweep unit for remaining persons, closing doors and placing sticker on each door across the door and jamb indicating ‘room clear’.

- Report unit clear to Medical Care Branch Director/Incident Command.

### Non-Patient Care Area Actions

- Recognize unit-based threat or receive evacuation instructions from incident commander or authorized personnel according to facility plan and move staff from area to rally point.

- Account for staff at rally point.

- Initiate continuity of operations plan actions.

- Sweep area for remaining persons, closing doors and placing sticker on each door across the door and jamb indicating ‘room clear’.

- Report unit clear to Infrastructure Branch Director/Incident Command.

### Evacuation of Staff with Disabilities

In the event of an evacuation, staff members/visitors with disabilities may require assistance. Each department head must identify which of their employees may have difficulty during an evacuation and pre-plan the best way to aid their movement to a safe location.

## Staging Areas

Staging areas - are locations to which patients are moved pending evacuation or discharge. Note that during an emergency evacuation when the facility is in a dangerous condition, these plans may have to be modified and staging may occur external to the building.

Staging areas for [Company] are:

The Staging Manager will assure that the staging area(s) have a transport officer, triage officer, and, if multiple staging areas, a staging officer. The functions at the staging area are:

Calling units to evacuate sequentially depending on resources available for transport and threat environment.

Provide space for patients including chairs for ambulatory patients.

Receive and organize patients arriving from inpatient units.

Assure patients are tagged and triaged for transportation loading.

Briefly assess each patient medically and assure stability and/or assess new complaints or conditions arising during evacuation process (Triage Officer).

Assure that medical records and belongings accompany the patient.

Move patients to appropriate vehicle loading areas (Transportation Officer).

Track patients loaded into vehicles and their destination (Transportation Officer).

For additional information, see Evacuation Staging Manager Checklist (Appendix 6).

Supplies required at each staging area include acute medical care, oxygen, water, snacks, personal care items, and basic medications.

## External Transportation

In the event of evacuation, the Planning Section Chief/Transportation Officer should arrange adequate transport capacity utilizing [Company] resources (see Table 2) and those obtained from partner agencies. Contact the Choose an item. for resource requests.

The Planning Section Chief/Transportation Officer should poll units to determine ambulance (Basic Life Support - BLS, Advanced Life Support - ALS, Aeromedical), wheelchair, and sitting (bus) requirements. In general, the below averages can be used for a rough estimate for transportation needs:

ICU: Assuming ICU patients are critically ill, ALS ambulance 1 per every 1-2 patients

Step-down units: 25% ALS, 25% BLS, 25% wheelchair, 25% bus

Medical/Surgical units: 10% ALS, 30% BLS, 30% wheelchair, 30% bus

Specialty units:

  - Click or tap here to enter text.

  - Click or tap here to enter text.

  - Click or tap here to enter text.

Table 2: Transportation Resources

| Service or resource | Contact information | distance | resources available |
| --- | --- | --- | --- |
| Click or tap here to enter text. |  |  |  |
| Click or tap here to enter text. |  |  |  |
| Click or tap here to enter text. |  |  |  |
| Specialized Mass Casualty Bus | Minnesota Duty Officer (651) 649-5451 or 1-800-422-0798 | Located in Metro Region and Fargo/Moorehead. | 18 patient MAC 22 bus with driver |

## Patient Triage, Tagging, Documentation, and Movement

### Triage and Prioritization

KEY CONCEPT: Triage assigns the color for patient transportation from staging to the receiving facility NOT for priority of transport to the staging area – which is often the reverse.

Table 3: Triage and Prioritization

| Triage Level | Priority for Evacuation from Nursing Unit to Staging Area Reversed START Priority | Priority for Transfer from the Staging Area to another Health Care Facility Traditional Start Priority |
| --- | --- | --- |
| Red | Last - Require maximum assistance - Need stretchers - Require 2-3 staff members to move | First - Require maximum support to sustain life |
| Yellow | Second - Require some assistance - May need wheelchairs or stretchers - May require 1-2 staff members to move | Second |
| Green | First - Require minimal assistance - Ambulatory - 1 staff member can safely lead several to the staging area | Last |

### Patient Tagging and Documentation

Every patient must be tagged, tracked and documented during an evacuation.

Tagging: Disaster Management System (DMS) patient evacuation tags will be used to identify each patient and their belongings. Location of tags noted on unit evacuation templates.

Tracking: Each patient will be recorded on the appropriate tracking sheet. HICS 255-Master Patient Evacuation Tracking.

Documentation:

- Emergency Evacuation – the following information must accompany the patient. Further information should be accessed and forwarded to the receiving facility

  - Name, age

  - Allergies

  - Medications

  - Problem list

  - Advance directives

  - Commitment orders

  - Isolation precautions (if any)

  - Emergency contact (if unable to provide)

Non-emergency evacuation should include the above AND

  - Copy of Medication Administration Record (MAR)

  - Copy of most recent discharge or care summary

  - Copies of latest lab reports

  - Primary care physician information

### Patient Movement Methods

- Hand-holding (consider use of waist belt if available)

- Carts/Beds/Wheelchairs/Isolettes

- Carries – blanket, canvas, stretcher

- Blanket/Sled Drag

- Critical patients – must move with Bag Valve Mask (BVM) or portable ventilator, “D” cylinder oxygen, possibly cardiac monitor or pumps – see Intensive Care Unit (ICU) evacuation template for further information. Patients should not be moved to staging until transportation is available unless imminent threat dictates immediate movement.

## Safety and Security

Security of the facility during an evacuation will be under the direction of the Security Branch Director. The Security Department will have a representative at the facility Emergency Operation Center (EOC). The following actions may need to take place in the event on an evacuation:

Access Control - Ensure the security of the facility and personnel by monitoring individuals entering and exiting the building.

Crowd Control - Maintain scene safety and ensure crowd control.

Traffic Control - Organize and enforce vehicular traffic security for facility.-

Search Unit - Coordinate the search and rescue of missing staff, patients, and family members.

Law Enforcement Interface - Coordinate security of facility with outside law enforcement agencies.

Other community resources that may be utilized to assist in the securing of the facility are:

Click or tap here to enter text.

Click or tap here to enter text.

Click or tap here to enter text.

All agencies involved in security operations at the facility will be coordinated through the facilities Incident Command System (consider unified command with other responding agencies). The Safety Officer is accountable for assuring facility safety and operational safety (including use of PPE) during any relocation/evacuation incident.

## Facility Operations, Shut Down, Recovery and Stay Team

Facility operations during an evacuation will be under the direction of the Infrastructure Branch Director/IC. This position will coordinate all facility control operations as needed during an evacuation. The first step in this process is to have the current status of all facility systems evaluated and documented using the HICS-251 Facility System Status Report.  From this status report, the Infrastructure Branch Director/IC may call for additional support (e.g. Local utilities companies/vendors).

If possible, basic utility needs will be restored as soon as possible with the goal of preventing the need for an evacuation. If the evacuation dictates, the following utilities/services will be evaluated for the possibility of shutting down and securing:

Power

Water/Sewer

Lighting

Heating Ventilation and Air Conditioning (HVAC)

Building and Grounds Damage

Medical Gases

Medical Devices and Radiological Isotopes

Environmental Services

Food Services

Refer to Appendix 10 for a planning checklist for Facility Operations, Shut Down, Recovery and Stay Team.

Recovery - Assure that restoration and reimbursement issues and planning for facility start-up are addressed through the facility continuity of operations plan.

## Review, Authorities, References

| Approval date: |  |
| --- | --- |
| Modification date(s): |  |
| Authorizing signature: |  |

## Appendix 1: In-Patient Unit Specific Actions

### Click or tap here to enter text.

Facility Emergency Reporting Phone: Click or tap here to enter text.

Command Center Phone: Click or tap here to enter text.

Supervisor: Click or tap here to enter text.

Relocation:	Horizontal (first option): Click or tap here to enter text.

Vertical (second option): Click or tap here to enter text.

Evacuation staging location: Click or tap here to enter text.

Unit equipment location: Click or tap here to enter text.

Shelter-in-place: Protects the patients on the current unit when relocation or evacuation is not practical due to the type of threat or timeline

Weather – (wind/tornado) – close drapes and room doors, move patients away from windows as practical, move and alert visitors and staff to threat.

Security – internal threat - close room doors for internal threat, close doors in hallways, other actions per security/incident commander. Alert visitors and staff to situation

HAZMAT – follow instructions per safety/security/incident command

Relocation: Protect patients by moving them to a safer area of care within the facility, usually the adjacent smoke compartment but sometimes vertically or to other non-adjacent units.

Anyone recognizing an imminent danger to patients or others shall take immediate steps to safeguard those in danger including patient movement. Patients in imminent danger should be moved first, ambulatory patients and visitors second and non-ambulatory patients third.  See box above for unit-specific preferred destination and equipment location.

Relocation may also be used to adapt to a unit-specific problem such as a water pipe burst, electrical outage, etc. Unit charge nurse should coordinate with the incident commander.

Evacuation: Movement of patients from the facility to another institution. This may be a partial evacuation (certain units or specialized patients) or a complete facility evacuation and is undertaken as a last resort.

Charge Nurse/Administrator Supervisor Responsibilities upon notice of evacuation decision:

- Notify unit staff and reassign staff as needed.

- Compile a list of patients in your area, and your staff currently working.

- Staging Area is: Click or tap here to enter text. . Confirm staging destination. Direct staff and patients to remain at staging until all persons are accounted for.

- Assign staff member to print or compile required documentation.

  - Emergency: Take patient summary sheet with demographics, allergies, medications, problem list, and emergency contact information. Bring full chart if possible.

  - Non-emergency: Above plus medication administration record and facility chart.

- Triage patients for movement/transport using evacuation tags.

  - Tag color reflects priority for transport to the receiving facility NOT movement to staging thus green patients are ambulatory, yellow non-ambulatory, red unstable/critical care.

  - Tag all patients and attach tear-off band from tag to belongings

- Begin Evacuation to Staging Area with Green/Ambulatory Patients.

  - Assign staff to move them. All patients capable of ambulating should form a chain by holding hands (if capable) and be lead to the staging area by staff member(s).

- Assess acuity and resource needed to LOAD, MOVE, and CARRY non-ambulatory patients. Will depend on elevator status, etc.  In non-emergency situation assure that staging is ready for yellow/red patients prior to moving.

- Assign person(s) to check all rooms to assure:

  - No occupants remain and no safety issues.

  - Doors have been closed after room has been vacated.

  - Closed rooms are marked with ROOM CLEAR sticker across door and jamb.

- If time and resources allow, assign person(s) to transport your area’s medications.

- Upon arriving at staging, complete patient and staff head count. Staff shall remain at safe location until reassigned or dismissed. Patients shall be directed to remain at staging location until further instructions are given for discharge or transportation.

Special Considerations:

- Patients on ventilators: When central O2 is turned off, switch ventilator to room air and/or obtain portable O2 tanks. If no power and/or patients must be moved, patients must be bagged.

Patients with IV’s, arterial lines and Swan-Ganz: Disconnect transducer from patient cable-take pressure bag with patient. Saline lock all non-critical IV lines

Equipment: O2 tanks, bag-valve-mask, wheelchairs, defibrillator or monitors, transport monitor, evacuation mattress, slide board

Medications: Designate an individual to take the drug box from the crash cart and the Narcotic boxes with sign-out sheets. Backpack with needless syringes with adapters for vials and IV’s, alcohol swabs, saline, gloves, tubexes and carpujets.

Procedures:

The physician will assess if invasive procedure(s) can be stopped.

The physician will stop any other procedures in progress at a safe point, and the patient(s) will be prepared to move.

Equipment (see location in box at top page 1)

Evacuation tags

Room clear stickers

Click or tap here to enter text.

Click or tap here to enter text.

Click or tap here to enter text.

## Appendix 2: Support and Administration Specific Actions

### Click or tap here to enter text.

Facility Emergency Reporting Phone: Click or tap here to enter text.

Command Center Phone: Click or tap here to enter text.

Supervisor: Click or tap here to enter text.

Relocation:	Horizontal (first option): Click or tap here to enter text.

Vertical (second option): Click or tap here to enter text.

Evacuation staging location: Click or tap here to enter text.

Unit equipment location: Click or tap here to enter text.

Shelter-in-place: Protects staff when relocation or evacuation is not practical due to the type of threat or timeline

Weather – (wind/tornado) – close drapes and room doors, move away from windows as practical, alert visitors and staff to threat.

Security – internal threat - close room doors for internal threat, close doors in hallways, other actions per security/incident commander. Alert visitors and staff to situation

HAZMAT – follow instructions per safety/security/incident command

Relocation: Relocation of staff / functions to a safer area within the facility, usually the adjacent smoke compartment but sometimes vertically or to other non-adjacent units.

Anyone recognizing an imminent danger shall take immediate steps to safeguard those in danger including staff/visitor movement. See box above for unit-specific preferred destination and equipment location.

Relocation may also be used to adapt to a unit-specific problem such as a water pipe burst, electrical outage, etc. Unit coordinator should coordinate with the incident commander. For re-establishment of functions at alternate site in building see unit/area Continuity of Operations Plan

Evacuation: Movement of staff to a staging area to assist with evacuation of the facility and potentially clearing/closing of the unit. This may be a partial evacuation (certain units or specialized patients) or a complete facility evacuation and is undertaken as a last resort.

Supervisor Responsibilities upon notice of evacuation decision:

- Notify unit staff and reassign staff as needed.

- Inform staff of situation and actions to be taken.

- Compile a list of staff in your area, currently working.

- Staging Area is: Click or tap here to enter text. . Confirm staging destination. Direct staff and patients to remain at staging until all persons are accounted for.

- Prior to leaving work area secure any hazardous chemicals, safes, and other potential hazards.

- Take any ‘go-kits’ or continuity supplies for your unit.

- Assign person(s) to check all rooms to assure:

  - No occupants remain and no new/correctable safety issues to report.

  - Closed doors after room has been vacated.

  - Closed rooms are marked with ROOM CLEAR sticker across door and jamb.

- Upon arriving at staging, complete staff head count. Staff shall remain at safe location until reassigned or dismissed.

Equipment (see location in box at top page 1)

Room clear stickers

Click or tap here to enter text.

Click or tap here to enter text.

Click or tap here to enter text.

## Appendix 3: Evacuation Considerations—Disabilities

Addressing the needs of staff, patients, and visitors with disabilities ahead of time will alleviate unneeded stress and anxiety during an actual event. The needs of staff with disabilities is no different than anyone else, however the method of relocation may need to be altered. For that reason, exercises and drills should include persons with disabilities as a normal part of exercises. This also means asking their input on how best to assist them with relocation, identify what they may need, and addressing necessary equipment they use.

### Ambulatory - Limited Mobility

Ensure that staff with disabilities are accounted for. Many individuals with limited mobility do not need assistance on a daily basis and the fact they may require it in an emergency can be overlooked. Allow people to evacuation with other employees as possible. Alternatively, if they need to evacuate after others, establish a process that is comfortable with the effected staff during drills and exercises. Appoint staff to assist them as needed.

### Non-Ambulatory

Lift and assist methods should be determined prior to evacuation, for example, staff in wheelchairs requiring vertical evacuation. If the situation allows for it, use the Shelter in Place strategy. Ensure non-ambulatory patients have moved to a safe location and await further instruction. If elevators are unavailable, assist staff down the stairs in their wheelchair or in a special ‘stair-chair.’ If they must be carried, ask what lift will be most comfortable for them and be sure another person brings their wheelchair down as soon as possible (carrying battery-operated wheelchairs may not be possible). A non-ambulatory person feels secure, and is most independent, in their own wheelchair.

### Hearing Impaired

Ensure the hearing impaired employee understands exactly what is happening. If alarms have been triggered it is important they know the reason. An alarm’s strobe light will only signal there is an incident. Provide clear, concise instruction. Speak slowly or communicate in writing if possible. If the employee will assist patients in an evacuation, have them work in tandem with another so they receive situation updates and direction. Accommodate non-English speaking individuals as much as possible during an evacuation. The use of hand signals may be the primary means to provide direction to those individuals.

Click or tap here to enter text.

### Visually Impaired

Ensure visually impaired employees are able to navigate to the emergency exits, as the work area may change during an evacuation, leading to confusion. Provide assistance as hallways can quickly become crowded with people, beds and supplies.

### Cognitively Impaired

Prior to an incident, provide repetitive training on evacuation from their work area. Assign staff to escort them to safety, if necessary.

### Service Animals

Insure that the service animals of staff with disabilities are also accounted for and needs planned for during exercises and drills.

## Appendix 4: Command Staff Check List

Does not replaces HICS JAS use as hazard specific supplement

| Task | Assigned | Complete |
| --- | --- | --- |
| Initial assessment |  |  |
| Review threat intensity and likely duration |  |  |
| Review any unit-based relocations that are occurring and anticipate needs in those areas |  |  |
| Determine, based on the unit-based impacts the need for sheltering vs. relocation of displaced patients vs. partial or full evacuation to other institutions (see relevant sections below) |  |  |
| Assure damage and utilities impact assessment being conducted by Infrastructure Branch Director |  |  |
| Shelter in place |  |  |
| Instruct Infrastructure Branch Director to shut down air intakes if plume threat or internal ventilation if internal HAZMAT spill |  |  |
| Implement necessary access controls and monitoring in response to threats (Security Branch Director) |  |  |
| Communicate protective actions (door and drape closings, etc) to affected units as well as any event specifics |  |  |
| Relocation |  |  |
| Determine affected units and actions taken, notify affected units |  |  |
| Determine facility capacity for relocated patients – if insufficient see evacuation, below |  |  |
| Assure resources (staff and supplies) transferred to units absorbing relocated patients |  |  |
| Assure all patients accounted for and information transferred to receiving units |  |  |
| Determine timeframe to recover affected units and any effects on patient admissions, scheduling (e.g. surgeries) and flow |  |  |
| Evacuation |  |  |
| Determine scope of evacuation (partial for subset of patients / areas – for example ICU patients, complete for total facility evacuation) based on threat |  |  |
| Consider appointment of Evacuation Branch Director under Operations if Operations has multiple other issues (fire, etc) to address |  |  |
| Activate any appropriate facility response plan alerts |  |  |
| Announce evacuation order to affected units / institution |  |  |
| Determine whether usual staging area(s) can be used and announce alternatives if needed |  |  |
| Assign Staging Manager and Transportation Officer (HICS positions) to coordinate patient and vehicle staging according to evacuation plans |  |  |
| Initiate coordination between Planning Chief and Resource Unit on transportation (see table in EOP Evacuation Annex) and facilities to accept patients/residents and report back to IC |  |  |
| Contact RHPC (insert phone number) for coordination assistance |  |  |
| Place alert on MNTrac or appropriate electronic communication tool regarding scope of evacuation and any EMS diversion actions |  |  |
| Notify local EMS agency of situation and activate any mutual aid plans, summon necessary public safety assistance |  |  |
| Security to implement appropriate access controls – no family or visitors inside during evacuation |  |  |
| Security coordinates with local law enforcement regarding traffic controls external to facility |  |  |
| Logistics Chief to assure pharmaceuticals and supplies to staging areas |  |  |
| Distribute staff and resources to affected areas to facilitate patient / staff movement to staging areas |  |  |
| PIO to communicate facility status to media and families |  |  |
| Assure matching of patients to appropriate transfer facility |  |  |
| Assure patient tracking by transportation officer at time of loading |  |  |
| Assure prioritized movement of patients to and through staging (in non-emergency evacuation Staging Manager should call units to sequentially evacuate them) |  |  |
| Determine if any staff need to accompany patients/residents to receiving facilities |  |  |
| In case of complete evacuation – appoint Stay Team Unit Leader |  |  |

## Appendix 5: Triage Officer Checklist—Evacuation

Does not replace HICS Job Action Sheet – Use as Hazard-Specific Supplement

| Task | Assigned | Complete |
| --- | --- | --- |
| Initial tasks |  |  |
| Assure basic medications and any needed IV fluids or patient care supplies are available or requested via Staging Manager |  |  |
| Assist with identifying and clearing space for Green/Yellow/Red patients |  |  |
| Assess patients arriving to staging for: Discharge home – (depending on situation may be held for discharge or transferred to another safer location nearby for discharge) Transfer to other facility: - Green – ambulatory, low acuity (bus, etc.) - Yellow – non-ambulatory, non-critical care (WC or BLS vehicle) - Red – critical care (ALS / critical care) |  |  |
| Assure evacuation tag applied and reflects priority for transfer accurately |  |  |
| Subsequent tasks |  |  |
| Group patients for transport loading by acuity |  |  |
| Direct staff to provide necessary patient cares during staging period |  |  |
| Coordinate with Staging Manager (or Officer, if several staging sites) and Transport Officer regarding supplies, patient loading priority, appropriate vehicle for transport, and flow issues |  |  |

## Appendix 6: Evacuation Staging Manager Checklist

Does not replace HICS Job Action Sheet – Use as Hazard-Specific Supplement

| Task | Assigned | Complete |
| --- | --- | --- |
| Immediate (Operational Period 0-2 Hours) |  |  |
| Receive appointment and briefing from the Operations Section Chief. Obtain Staging Unit Job Action Sheets |  |  |
| Read this entire Job Action Sheet and review incident management team chart (HICS Form 207). Put on position identification. |  |  |
| Notify your usual supervisor of your HICS assignment. |  |  |
| Determine need for and appropriately appoint Evacuation Staging Team Leaders, distribute any corresponding Job Action Sheets and position identification. Complete the Branch Assignment List (HICS Form 204). |  |  |
| Document all key activities, actions, and decisions in an Operational Log (HICS Form 214) on a continual basis. |  |  |
| Brief the Evacuation Staging Team Leaders on current situation; outline branch action plan and designate time for next briefing. |  |  |
| Identify appropriate area(s) to serve as Staging Area(s) based on patient acuity for the preparation of transporting patients and their equipment from facility to an accepting facility. |  |  |
| Coordinate staging needs of all patients and their equipment and all evacuation staging team members. Requesting additional or rotation of staff to evacuation staging areas in coordination with Labor Pool & Credentialing Unit and Transportation Unit Leader |  |  |
| Regularly report Evacuation Staging Area(s) status to Operation Section Chief. |  |  |
| Assess problems and needs; coordinate with Operations Section Chief. |  |  |
| Instruct all Evacuation Staging Team Leaders to evaluate situation, including patients, equipment, supplies, and medication inventories and staff needs in collaboration with Logistics Section Supply Unit Leader; report status to Operations Section Chief and Supply Unit. |  |  |
| Meet with the Operations Section Chief and Logistics Section Chief, as appropriate to discuss plan of action and staffing in all activities. |  |  |
| Continue coordinating transport of patients and their equipment from staging to the transport area, working with the Transport Manager as needed. |  |  |
| Ensure prioritization of problems when multiple issues are presented. |  |  |
| Develop and submit an Evacuation Staging Area action plan to the Operations Section Chief when requested. |  |  |
| Ensure documentation is completed correctly and collected. |  |  |
| Make notification and advise the Operations Section Chief immediately of any problems encountered or operational issue(s) you are not able to correct or resolve. |  |  |
| Ensure staff health and safety issues being addressed; resolve with the Safety Officer. |  |  |
| Extended (Operational Period Beyond 12 Hours) |  |  |
| Continue to monitor the Evacuation Staging Team’s ability to meet workload demands, staff health and safety, resource needs, and documentation practices. |  |  |
| Coordinate assignment and orientation of personnel sent to assist patient/resident |  |  |
| Rotate staff on a regular basis. |  |  |
| Document actions and decisions on a continual basis. |  |  |
| Continue to provide the Operations Section Chief with periodic situation updates. |  |  |
| Ensure your physical readiness through proper nutrition, water intake, rest, and stress management techniques. |  |  |
| Observe all staff and volunteers for signs of stress and inappropriate behavior. Report concerns to the Employee Health & Well-Being Unit Leader. Provide for staff rest periods and relief. |  |  |
| Upon shift change, brief your replacement on the status of all ongoing operations, issues, and other relevant incident information. |  |  |
| Demobilization/System Recovery |  |  |
| As needs for Evacuation Staging Area decrease, return staff to their normal jobs or release and combine or deactivate positions in a phased manner, in coordination with the Demobilization Unit Leader. |  |  |
| Assist the Operations Section Chief and Branch Directors with restoring facility resources to normal operating condition. |  |  |
| Ensure the retrieval/return of equipment/supplies. |  |  |
| Debrief staff on lessons learned and procedural/equipment changes needed. |  |  |
| Upon deactivation of your position, brief the Operations Section Chief on current problems, outstanding issues, and follow-up requirements. |  |  |
| Upon deactivation of your position, ensure all documentation and Evacuation Staging Unit Operational Logs (HICS Form 214) are submitted to the Operations Section Chief. |  |  |
| Submit comments to the Operations Section Chief for discussion and possible inclusion in the after-action report; topics include: Review of pertinent position descriptions and operational checklists Recommendations for procedure changes Section accomplishments and issues |  |  |
| Participate in stress management and after-action debriefings. Participate in other briefings and meetings as required. |  |  |

## Appendix 7: Evacuating Staging Team Member Checklist

Does not replace HICS Job Action Sheet—Use as Hazard Specific Supplement

| Task | Assigned | Complete |
| --- | --- | --- |
| Initial tasks |  |  |
| Receive patients/residents into Staging area and confirm hand off information is accurate (Evacuation tag and Patient Evacuation tracking form HICS 260) |  |  |
| Assure patient/residents comfort and medical needs are met (personnel, medication, water, blankets) |  |  |
| Communicate any personnel/supply needs to Staging Team Leader |  |  |
| Subsequent tasks |  |  |
| Group patients for transport loading by acuity or destination (dependent upon size of event and number of staging locations) |  |  |
| At the end of shift brief Evacuation Staging Team Leader on any current problems or any outstanding issues |  |  |
| Complete and submit any documentation to Evacuation Staging Team Leader |  |  |
| Demobilization |  |  |
| Ensure equipment and supplies are retrieved/returned |  |  |
| Upon deactivation of your position brief Evacuation Staging Team Leader on any current problems or any outstanding issues |  |  |
| Complete and submit any documentation to Evacuation Staging Team Leader |  |  |

## Appendix 8: Evacuation Pre-Event Time Assessment and Decision Tool

### Pre-Event Evacuation Time Assessment

| Resource | Response | Implication |
| --- | --- | --- |
| STAFF |  |  |
| If a mandatory community evacuation order is issued, what percentage of your staff is likely to leave (and not report to work)? |  | Higher percentage of absenteeism equals increased risk to patients and longer evacuation time |
| Have additional trained staff been identified/located to assist, if necessary, with evacuation? |  | If not, expect an increased evacuation time. If yes, does the community event also place demands on that group? |
| CENSUS/PATIENT MIX |  |  |
| How many patients are in the ICU (including adult, pediatric and neonatal) and other units (e.g. burn units) with special evacuation needs (e.g. patient must be accompanied by two health care professionals)? |  | The more specialty patients, the more staff required, the more limited and distant the receiving facilities and the less specialized transport platforms available. |
| Typical census of adult and pediatric patients? |  |  |
| Typical census of patients with special evacuation needs (e.g. psychiatric patients, bariatric patients, patients from correctional facilities)? |  |  |
| TRANSPORTATION NEEDS |  |  |
| What percentage of patients could self-evacuation (e.g. be taken home or evacuated by family/friends)? |  | See worksheet above (Table 1, pg. 9) |
| What percentage of patients are ambulatory (e.g. could be evacuated in a bus)? |  |  |
| What percentage can sit up but not walk (e.g. could be evacuated in wheelchair vans)? |  |  |
| What percentage requires medical attention at the BLS level during transport? |  |  |
| What percentage require life support equipment (e.g. could only be evacuated in an ALS ambulance or via helicopter)? |  | Higher percentage of specialized transportation resources equals more difficult to meet the needs |
| TRANSPORTATION AVAILABLE |  |  |
| Does the hospital have an exclusive contract with transportation providers to supply vehicles, or is it dependent on public/private vehicles serving others? |  | No exclusive contract leaves the facility more vulnerable |
| Is there a regional mechanism for sharing transportation resources? |  | If not, the facility is more vulnerable |
| How many different access roads reach the hospital, and how many loading zones where there are ramp exits for moving patients? |  |  |
| How long would it take to get all of the patients out of the hospital and on the road to another location (assuming the hospital is full, roads are not damaged/blocked, and appropriate vehicles and staff are available)? |  | Limited means more vulnerable |
| Does the hospital plan specify an off-site “assembly point” where patients could be moved without vehicles, and from which transportation/loading into vehicles would be faster? |  | No off-site “assembly point” equals more vulnerable |
| How long would this two-stage evacuation take? Hours = time until evacuation. |  | Longer the time the higher risk to stay |
| How quickly could all the patients be moved out of the building in an emergency? |  |  |
| CLOSEST RECEIVING FACILITY |  |  |
| How close is the nearest care site that could provide appropriate care for: - NICU patients - PICU patients - CICU patients - Other adult ICU patients - Psychiatric patients - Other ventilator-dependent patients - Other patients with special/ advanced medical needs |  | Longer distance equals increased transport times and higher overall risk |

### Pre-Event Evacuation Decision Tool

|  | Factor | Issues to Consider | Implication |
| --- | --- | --- | --- |
| Event Characteristics | Arrival | When is the event expected to impact the hospital? The region? How variable is the impact timeframe? | The amount of time until the event combined with the anticipated time to evacuate determines how long an evacuation decision can be deferred. |
|  | Magnitude | What are the expected effects on the facility and community? How likely is the event to be more or less severe than predicted—what are the impacts? | The magnitude of the event predicts potential damage to a facility and utilities, which could cut off the supply of key resources, or otherwise limit the ability to shelter-in-place and care for patients. |
|  | Area Impacted | How large is the geographic area affected? How many vulnerable health care facilities are in this geographic area (LTC, hospitals, others)? | Competition for resources needed to evacuate patients (especially vehicles) increases when more facilities evacuate simultaneously. |
|  | Duration | How long is the event expected to last? How variable is the expected duration? | The duration of the event affects how long hospitals have to operate on backup, alternative, or less predictable resources. |
| Anticipated Effect of the Event on Key Resources | Water | Is the facility or main city water supply in jeopardy? Already non-functional? Is there a backup water supply (well, nearby building with intact water mains)? If not, how soon will city water return? | Water loss of unknown duration (more than 1-2 days) is almost always cause for evacuation. |
|  | Heat | Is the heat source in jeopardy (steam, water for boilers, etc.)? Already non-functional? Is there a backup (intact nearby building that still has power/heat)? If not, will the building be too cold for patient safety before adequate heat returns? | Loss of heat, especially during a northern winter, is almost always a cause for evacuation—often within 12 hours. |
|  | Electricity | Is power at risk? Just for the hospital or a wider area? Are backup generators functional? How long can they run without refueling? Is refueling possible given the situation? Can some sections/wings be shut down to reduce fuel consumption and stretch fuel supplies? | Loss of electricity endangers ventilated patients, among others, and may affect the sequence in which patients are evacuated. |
|  | Facility Structural Integrity | Is the building obviously/visibly unsafe? All of it or only portions (e.g., can people be consolidated in safer sections)? Is there a water tank on the roof, and is it intact? Is a structural engineer needed to make an assessment? | Structural damage may cause rooftop water tanks to fail, flooding the building. Safety/integrity may not be obvious to untrained occupants. |
| Anticipated Effect of the Event on the Community | Road Conditions | Are any major routes from the hospital to potential receiving care sites closed or threatened? Will evacuation traffic clog major routes from the hospital to potential receiving care sites? Are access routes to the hospital cut off or threatened? | There may be a limited window of opportunity to carry out a ground-based evacuation. Increased use of helicopters to evacuate patients may be required. Staff may not be able to get to the hospital to relieve existing staff or assist in the evacuation. |
|  | Community/Building Security | Have any nearby areas experienced increases in disorder or looting? Are local law enforcement agencies understaffed due to self-evacuations or significant additional responsibilities? Are additional private security officers available to secure the hospital? | If patient and staff safety cannot be assured, evacuation will be necessary. |
|  | Evacuation Status of Other Nearby Health Care Facilities | Are other hospitals or other health care facilities already evacuating or planning to evacuate, or have they decided to shelter-in-place? | If other hospitals or health care facilities are evacuating there may be: 1) competition for ambulances, 2) wheelchair vans, and buses may be substantially increased, 3) the hospital may be asked to accept additional patients, 4) patients may have to be relocated to facilities further away than anticipated. |
|  | State/County/Local Evacuation Order | Have evacuation orders been issued in areas closer to the event? Have any public or private statements been issued regarding the possibility of an evacuation order? Have any other incidents occurred that increase the likelihood that an evacuation order will be issued? | You may have no choice but to evacuate. |
|  | Availability of Local Emergency Response Agencies | Are local emergency response agencies understaffed or less available due to other responsibilities? | Unavailability of local fire agencies increases the risk of sheltering-in-place. |

## Appendix 9: Supplies

### Unit Supplies

Per inpatient unit. See other unit-specific information at institution.

DMS evacuation tags for Unit

Flashlights / headlamps (4)

Blankets / carrying canvas

‘Room Clear’ labels

Permanent medium markers

Large rubber bands

Large envelopes for records

Unit patient tracking form

Unit staff/visitor tracking form

Unit evacuation template (extra copies to posted)

Extra footies

### Pharmacy Evacuation Cache

| Medication | Strength/Concentration | Quantity |
| --- | --- | --- |
| Acetaminophen | 375 mg tab | 500 |
| ASA | 81 mg chewable | 30 |
| Albuterol | MDI | 5 |
| Furosemide (lasix) | 40 mg injectable | 5 |
| Furosemide (lasix) | 40 mg tab | 20 |
| Oxycodone elixir | 10 mg/5 ml tubs | 20 |
| Ibuprofen | 200 mg tabs | 100 |
| Acetaminophen | 160 mg/5 ml | 1 bottle |
| Diphenhydramine | 50 mg/2 ml injectable | 10 |
| Diphenhydramine | 25 mg tab | 50 |
| Enoxaparin | 100 mg/syringe | 15 |
| Droperidol | 5 mg/2 ml | 15 |
| Haloperidol | 10 mg tab | 25 |
| Olanzapine | 10 mg tab | 25 |
| Lorazepam | 2 mg/2 ml injectable | 15 |
| Ativan | 1 mg tab | 25 |
| Insulin | Regular | 2 bottles |
| Insulin | 70/30 | 2 bottles |
| Marcaine | 0.25% with epinephrine | 2 bottles |
| Hydromorphone | 1 mg/2 ml | 20 |
| Saline lock | 5 ml | 50 |
| Syringe tuberculin with needle | N/A | 20 |
| Syringe 12 ml | Luer lock | 20 |
| Syringe | 3 ml with 1 inch 23 gauge needle | 20 |
| Needle | 18 gauge 1.5 inch | 20 |
| Needle | 25 gauge 1.5 inch | 10 |

### Staging Supplies

| Item | Where to Get It (Location) | Notes |
| --- | --- | --- |
| Administrative Items |  |  |
| Permanent Markers |  |  |
| Rubber Bands for Medical Records |  |  |
| Sheet Protectors for Transfer Documentation to Accompany Patient |  |  |
| Extra Forms – HICS FORMS |  |  |
| DMS evacuation tags |  |  |
| Additional ‘room clear’ labels (100) |  |  |
| Food Items |  |  |
| Bottled water (2 bottles per patient) |  |  |
| Energy bars (2 per patient) |  |  |
| Medical Items |  |  |
| IV Solutions |  |  |
| D5 0.45NS – x bags |  |  |
| NS – x bags |  |  |
| Medications per table (in addition to crash cart supplies) |  |  |
| Wheel Chairs (WC) |  |  |
| Walkers |  |  |
| Crutches |  |  |
| Gloves, exam M, L |  |  |
| Crash/Code Cart |  |  |
| Portable oxygen cylinders (D type) |  |  |
| Personal Items |  |  |
| Sani-wipes |  |  |
| Hand sanitizer |  |  |
| Chux |  |  |
| Diapers Adult |  |  |
| Sheets |  |  |
| Blankets |  |  |
| Emesis bags |  |  |
| Non-Skid Socks for Ambulatory Patients without Shoes |  |  |
| Facial tissues |  |  |
| Janitorial Items |  |  |
| Paper towels |  |  |
| Garbage bags, plastic |  |  |
| Zip close plastic bag – gallon |  |  |
| Flashlight |  |  |
| Fluorescent Vest |  |  |

## Appendix 10: Considerations for Facility Shut Down and “Stay Team” Activities

| Task | Assigned | Complete |
| --- | --- | --- |
| Change facility status to closed or other MNTrac status/notification as per regional plan |  |  |
| Identify the lockdown plan and how to harden exterior & critical infrastructure |  |  |
| Identify the alternate sites for a media center and staging (labor and equipment) for going to alternate site |  |  |
| Define departmental procedures for securing and shutting down equipment and identifying staff assigned to perform shutdown functions: (critical operations responsibilities) |  |  |
| Lab |  |  |
| Finance |  |  |
| Records |  |  |
| Central Sterile Supply |  |  |
| Imaging (CT, MRI, Radiology, Ultrasound, Nuclear medicine – including securing of isotopes) |  |  |
| Pharmacy (defined procedures for security and/or management of controlled substances) |  |  |
| Dietary & Food Services |  |  |
| Medical Equipment (Bio-Electronics) (securing of high value medical equipment (crash carts) |  |  |
| Information Technology (IT, Telecommunications, Radio Communications, Computing Facility) |  |  |
| Morgue |  |  |
| Defined procedures for securing utilities |  |  |
| Medical gases |  |  |
| Fuel |  |  |
| Water/sewer |  |  |
| Electricity (shut down or activate generators |  |  |
| HVAC |  |  |
| Steam |  |  |
| Medical Gas system |  |  |
| Fire alarm/sprinkler system |  |  |
| Hazardous Materials and Hazardous Waste to include: |  |  |
| Hazardous Waste (satellite and waste sites) |  |  |
| Hazardous Materials Storage Locations |  |  |
| Identification of personnel assigned to secure utilities |  |  |
| Procedure to account for safe evacuation of assigned “stay team” personnel |  |  |
| Defined procedures for coordinating local public safety to determine inner and outer perimeters |  |  |
| Heliport (notify Airport Commission of closure of heliport |  |  |
| Defined procedures for establishing staging areas to include coordination with local response partners |  |  |
| Defined procedures for identifying safe areas outside the building for accountability of patients, staff, visitors, and physicians |  |  |

## Acronym List

BVM 	Bag Valve Mask

CMS  	Centers for Medicare and Medicaid Services

DMS   	Disaster Medical System

EMS 	Emergency Medical Services

EOP	Emergency Operations Plan

EOC	Emergency Operations Center

HICS	Hospital Incident Command System

HVA	Hazard Vulnerability Analysis

HVAC	Heating, Ventilation, and Air Conditioning

IC	Incident Commander

ICS	Incident Command System

JC	Joint Commission

MAR	Medication Administration Record

MDH	Minnesota Department of Health

MRC	Medical Reserve Corps

CEPR	Center for Emergency Preparedness and Response

OSHA	Occupational Safety and Health Administration

PPE	Personal Protective Equipment

RHPC	Regional Health Care Preparedness Coordinator

SIP	Shelter in Place

WC	Wheelchair

## References

- Agency for Healthcare Research and Quality. Hospital Evacuation Decision Guide AHRQ Publication No. 10-0009 	http://www.ahrq.gov/prep/hospevacguide/

Agency for Healthcare Research and Quality. Hospital Assessment and Recovery Guide Publication No. 10-0081	http://www.ahrq.gov/prep/hosprecovery/index.html#contents

Residential Healthcare Facility Evacuation Procedures Template. Produced by the DC Emergency Healthcare Coalition March 2009

Ernest Sternberg, PhD; 1 George C. Lee, PhD; 2 Danial Huard CET3. Counting Crises; US Hospitals Evacuations 1971-1999

Florida Health Care Association. National Criteria for Evacuation Decision –Making in Nursing Homes 2008

Department of Health and Human Services – Office of the Inspector General. Nursing Home Emergency Preparedness and Response During Recent Hurricanes 2006

Bioterrorism Hospital Preparedness Program, NYC Department of Health and Mental Hygiene. Continuum 	Health Partners Evacuation Planning for Hospitals 2006

Center for HICS Education and Training. http://www.hicscenter.org/

FEMA ICS Resource Center http://training.fema.gov/EMIWeb/IS/ICSResource/index.htm

## Acknowledgements

This type of document would be difficult at best for any single person to put together and there were certainly many contributors on this project. The quality of this project was greatly enhanced by their knowledge, support, passion, and commitment to this work. To that end we offer grateful appreciation and many thanks.

The initial document was prepared for the Central Region Healthcare Preparedness Program (HPP) in Minnesota by the Emergency Preparedness Resource Group (EPRG), including Lance Ross, Greg Hayes, Kristi Moline, and John Bastin. Their document was used with permission of the Central Region HPP program was the jumping off point to create this product. Many thanks to all of them.

Additional contributors to this document include:

John Hick, MD

Don Sheldrew, MSW, LICSW, NREMT-P

Janice Jones

Steven Dwine

Carol Sele

Eric Weller, MA, NREMT, MNCEM

Chris Chell, BSW, MBA

Julie Johnson, BS, LSW

Chuck Hartsfield, RN, BS, CEN, PHN

Katherine Grimm, MPH

Donna Blomquist, RN

Cheryl M. Stephens, PhD

Pam Schultz, MS, CEM

Mark Lappe

Angie Koch, MPH

Judy Seaberg, RN, PHN, MS, MNCEM

Justin Taves

Adapted from Continuum Health Partners—Evacuation Planning for Hospitals (2006)