## Scanners
2020 Health Care Cost Information System (HCCIS) Data
Health Economics Program
Minnesota Department of Health
Current as of 2-13-2023
*Dental Facility CT scanners are Cone Beam Computed Tomography scanners (CBCT). These procedures are often unreimbursed, done at no charge, or part of a treatment package.
Advanced Diagnostic Imaging Scanner Count
Scanner counts only populate next to the OWNER of the equipment. Facilities leasing equipment will show null values.
HCCIS ID | Facility Type | Name | City | State | FIXED MRI | MOBILE MRI | FIXED PET | MOBILE PET | FIXED PET / CT | MOBILE PET / CT | FIXED CT* | MOBILE CT | FIXED SPECT / CT | MOBILE SPECT / CT | FIXED SPECT | MOBILE SPECT
3 | Hospital | Essentia Health Ada | Ada | MN | [6 empty] | 1
1700 | Dental Office | Prairie Dental Centers, PA - Ada | Ada | MN | [6 empty] | 1
825 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Riverwood HealthCare Center | Aitkin | MN | 1 | [5 empty] | 1
1285 | Dental Office | River Oaks Dental, PLC - Aitkin | Aitkin | MN | [6 empty] | 1
4 | Hospital | Riverwood Healthcare Center | Aitkin | MN
1158 | Dental Office | Albany Family Dentistry | Albany | MN | [6 empty] | 1
100 | Hospital | Mayo Clinic Health System - Albert Lea and Austin*** | Albert Lea | MN | 2 | [5 empty] | 2 |  | 1
1793 | Dental Office | Smile Doctors - Albert Lea | Albert Lea | MN | [6 empty] | 1
1794 | Dental Office | White Smiles Family Dentistry - Albertville | Albertville | MN | [6 empty] | 1
672 | Imaging Facility | Alexandria CDI @ Douglas County Hospital | Alexandria | MN | 2 |  |  |  | 1 |  | 1 |  |  |  | 1
34 | Hospital | Alomere Health | Alexandria | MN
1316 | Dental Office | Centrasota Oral & Maxillofacial Surgeons - Alexandria | Alexandria | MN | [6 empty] | 1
1179 | Dental Office | Dental Health Associates of Alexandria, PA | Alexandria | MN | [6 empty] | 1
1201 | Dental Office | Dentistry at the Center | Alexandria | MN | [6 empty] | 1
1795 | Dental Office | Joseph M. Haack, DDS, PLLC | Alexandria | MN | [6 empty] | 1
1026 | Dental Office | Soderholm Oral Surgery & Implants | Alexandria | MN | [6 empty] | 1
1018 | Imaging Facility | Tristate Brain and Spine Institute | Alexandria | MN | [6 empty] | 1
1796 | Dental Office | Custom Smiles Dentistry | Andover | MN | [6 empty] | 1
1701 | Dental Office | John J. Keller, DDS, PA | Anoka | MN | [6 empty] | 1
6 | Hospital | Appleton Area Health | Appleton | MN
993 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Appleton Municipal Hospital | Appleton | MN | [6 empty] | 1
1286 | Dental Office | Brite Smiles Dental Care | Apple Valley | MN | [6 empty] | 1
1233 | Dental Office | Dakota Dental Clinic | Apple Valley | MN | [6 empty] | 1
1222 | Dental Office | Dalseth Family and Cosmetic Dentistry | Apple Valley | MN | [6 empty] | 1
1838 | Clinic | Johnson Spinal Care Associates, PA | Apple Valley | MN | [6 empty] | 1
1400 | Dental Office | Modern Care Endodontics - Apple Valley | Apple Valley | MN | [6 empty] | 1
1224 | Dental Office | Ron Kent DDS, PLLC | Apple Valley | MN | [6 empty] | 1
1797 | Dental Office | Synergy Dental, LLC | Apple Valley | MN | [6 empty] | 1
1292 | Dental Office | The Dental Health Center | Apple Valley | MN | [6 empty] | 1
1336 | Dental Office | Twin Cities Oral & Maxillofacial Surgery, P.A. - Apple Valley | Apple Valley | MN | [6 empty] | 1
1287 | Dental Office | ClearChoice Dental Implant Centers - Minneapolis | Arden Hills | MN | [6 empty] | 1
827 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Ridgeview Sibley Medical Center | Arlington | MN | [6 empty] | 1
7 | Hospital | Ridgeview Sibley Medical Center | Arlington | MN
828 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Essentia Health Northern Pines | Aurora | MN | [6 empty] | 1
175 | Hospital | Essentia Health Northern Pines | Aurora | MN
1197 | Dental Office | Heimer Dental, PLLC | Austin | MN | [6 empty] | 1
1702 | Dental Office | Nelson Family Dental, PLLC | Austin | MN | [6 empty] | 1
1127 | Dental Office | Overby Orthodontics, LLC - Austin | Austin | MN | [6 empty] | 1
829 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Sanford Bagley Medical Center | Bagley | MN | [6 empty] | 1
19 | Hospital | Sanford Bagley Medical Center | Bagley | MN
159 | Hospital | CHI LakeWood Health | Baudette | MN | [6 empty] | 1
1168 | Clinic | CRMC - Baxter Clinic | Baxter | MN
1082 | Dental Office | Edgewood Dental | Baxter | MN | [6 empty] | 1
1066 | Clinic | Kurtis Waters, MD | Baxter | MN | [6 empty] | 1
1764 | Dental Office | Lakes Dental Care, PLC | Baxter | MN | [6 empty] | 1
1229 | Dental Office | Winegar Dental, LLC | Baxter | MN | [6 empty] | 1
1246 | Dental Office | Bay Dental Care | Bayport | MN | [6 empty] | 1
1288 | Dental Office | Bemidji Dental Clinic | Bemidji | MN | [6 empty] | 1
1703 | Dental Office | Bemidji Family Dentistry | Bemidji | MN | [6 empty] | 1
102 | Hospital | Sanford Bemidji Medical Center | Bemidji | MN | 2 |  | 1 |  |  |  | 3 |  |  |  | 2
1346 | Imaging Facility | Shared Medical Technology, Inc. PET/CT - M1 | Bemidji | MN | [5 empty] | 1
762 | Imaging Facility | Shared Medical Technology, Inc. SPECT- M2 (Mobile Unit - 2) | Bemidji | MN | [11 empty] | 1
1704 | Dental Office | Tall Pines Family Dentistry, PA | Bemidji | MN | [6 empty] | 1
831 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Swift County-Benson Hospital | Benson | MN | [6 empty] | 1
153 | Hospital | Swift County-Benson Health Services | Benson | MN
104 | Hospital | Bigfork Valley Hospital | Bigfork | MN
832 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Bigfork Valley Hospital | Bigfork | MN | [6 empty] | 1
1705 | Dental Office | Lake Dental Care | Big Lake | MN | [6 empty] | 1
1277 | Dental Office | Monticello Dental Center | Big Lake | MN | [6 empty] | 1
1431 | Dental Office | Blaine Dental LLC dba Pro Dental | Blaine | MN | [6 empty] | 1
1057 | Imaging Facility | Center for Diagnostic Imaging - Blaine | Blaine | MN | 1 | [5 empty] | 1
666 | Clinic | Fairview Blaine Clinic | Blaine | MN | 1 | [5 empty] | 1
1170 | Dental Office | Imagine Smiles | Blaine | MN | [6 empty] | 1
1080 | Dental Office | Legacy Dental Care | Blaine | MN | [6 empty] | 2
1430 | Clinic | Minnesota Ear & Sinus Center | Blaine | MN | [6 empty] | 1
748 | Clinic | Noran Neurological Clinic, PA | Blaine | MN | 1
1706 | Dental Office | St. Croix Endodontics - Blaine | Blaine | MN | [6 empty] | 1
667 | Imaging Facility | Suburban Imaging Blaine | Blaine | MN | 1 | [5 empty] | 1
1380 | Imaging Facility | Suburban Imaging - Blaine South | Blaine | MN | 1
1777 | Clinic | Twin Cities Orthopedics - Blaine | Blaine | MN
1255 | Dental Office | Distinctive Dental Care | Bloomington | MN | [6 empty] | 1
1252 | Dental Office | Krengel Dental | Bloomington | MN | [6 empty] | 1
1707 | Dental Office | Minnesota Dental Surgery | Bloomington | MN | [6 empty] | 1
1099 | Dental Office | Olson Dental Care | Bloomington | MN | [6 empty] | 1
1708 | Dental Office | Oxboro Family Dental | Bloomington | MN | [6 empty] | 1
1289 | Dental Office | Point Family Dentistry | Bloomington | MN | [6 empty] | 1
1108 | Dental Office | River Bluff Dental, PA | Bloomington | MN | [6 empty] | 1
500 | Clinic | TRIA Orthopaedic Center - Bloomington | Bloomington | MN | 3
833 | Imaging Facility | Central Minnesota Diagnostic, Inc @ United Hospital District | Blue Earth | MN | [6 empty] | 1
162 | Hospital | United Hospital District | Blue Earth | MN
509 | Imaging Facility | Essentia Health Lakes Imaging | Brainerd | MN | 1
997 | Dental Office | Lake Country Dental, LLC | Brainerd | MN | [6 empty] | 1
1237 | Dental Office | Oral & Maxillofacial Surgery Associates, Ltd - Brainerd | Brainerd | MN | [6 empty] | 1
142 | Hospital | St. Joseph's Medical Center | Brainerd | MN | 1 | [5 empty] | 2 |  | 1
958 | Imaging Facility | Central Minnesota Diagnostic, Inc @ St. Francis Medical Center | Breckenridge | MN | 1 | [5 empty] | 1
134 | Hospital | CHI St. Francis Health | Breckenridge | MN
1709 | Dental Office | Aspen Dental - Brooklyn Center | Brooklyn Center | MN | [6 empty] | 1
1019 | Imaging Facility | iCare Diagnostic Imaging, LLC | Brooklyn Center | MN | 1
1347 | Dental Office | Affordable Dentures and Implants - Brooklyn Park | Brooklyn Park | MN
1358 | Dental Office | Maple Brook Dental Center of Minnesota, LTD | Brooklyn Park | MN | [6 empty] | 1
558 | Imaging Facility | Minnetonka Imaging MRI | Brooklyn Park | MN | 1
11 | Hospital | Buffalo Hospital | Buffalo | MN | 1 | [5 empty] | 2 |  | 1
511 | Imaging Facility | Center for Diagnostic Imaging - Burnsville | Burnsville | MN | 1 | [5 empty] | 1
1077 | Dental Office | Craig V Duren, DDS | Burnsville | MN | [6 empty] | 1
1147 | Dental Office | Five Guys and A Scanner | Burnsville | MN | [6 empty] | 1
1798 | Dental Office | Metro Dental Care - Burnsville Specialty | Burnsville | MN | [6 empty] | 1
1040 | Dental Office | Metropolitan Endodontics - Burnsville | Burnsville | MN
42 | Hospital | M Health Fairview Ridges Hospital | Burnsville | MN | 2 | [9 empty] | 2
736 | Clinic | Minneapolis Clinic of Neurology, Ltd - Burnsville | Burnsville | MN |  | 1
1274 | Dental Office | Oak Ridge Dental | Burnsville | MN
515 | Clinic | Park Nicollet Clinic Burnsville | Burnsville | MN | 2 | [5 empty] | 2
1328 | Dental Office | South Suburban Oral & Maxillofacial Surgeons, LTD | Burnsville | MN
516 | Imaging Facility | Suburban Imaging Burnsville | Burnsville | MN | 1 | [5 empty] | 1
1424 | Dental Office | The Dental Specialists Ridges | Burnsville | MN | [6 empty] | 1
709 | Clinic | Twin Cities Orthopedics - Burnsville | Burnsville | MN | 1
1851 | Dental Office | Aspen Dental - Cambridge | Cambridge | MN | [6 empty] | 1
13 | Hospital | Cambridge Medical Center | Cambridge | MN | 1 | [5 empty] | 1
1711 | Dental Office | Cambridge Pine City Orthodontics - Cambridge | Cambridge | MN | [6 empty] | 1
1148 | Dental Office | Matthew J Peterson, DDS, PA (DBA: Cambridge Dental Center) | Cambridge | MN | [6 empty] | 1
14 | Hospital | Sanford Canby Medical Center | Canby | MN | [6 empty] | 1
15 | Hospital | Mayo Clinic Health System in Cannon Falls | Cannon Falls | MN | [6 empty] | 1
1350 | Dental Office | Carver Dental | Carver | MN | [6 empty] | 1
1712 | Dental Office | Twin Cities Dental | Champlin | MN | [6 empty] | 1
1073 | Dental Office | Chanhassen Family Dentistry | Chanhassen | MN | [6 empty] | 1
908 | Dental Office | Oral & Max. Surgical Consultants, PA - Chanhassen | Chanhassen | MN | [6 empty] | 1
1713 | Dental Office | Chaska Dental Center, PA | Chaska | MN | [6 empty] | 1
1785 | Dental Office | Kottemann Orthodontics, PLLC - Chaska | Chaska | MN | [6 empty] | 1
1714 | Dental Office | Shakti Dental PC dba Chaska Family Dental | Chaska | MN | [6 empty] | 1
1119 | Clinic | Twin Cities Orthopedics - Chaska | Chaska | MN
1799 | Dental Office | West Lakes Dentistry, PA - Chaska | Chaska | MN | [6 empty] | 1
1075 | Dental Office | Clearwater Family and Sedation Dentistry | Clearwater | MN | [6 empty] | 1
834 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Cloquet Memorial Hospital Association | Cloquet | MN | 1 | [5 empty] | 1
24 | Hospital | Community Memorial Hospital | Cloquet | MN
1800 | Dental Office | Bohnsack Family Dentistry, PLLC | Cokato | MN | [6 empty] | 1
1715 | Dental Office | Cold Spring Family Dentistry | Cold Spring | MN | [6 empty] | 1
1349 | Dental Office | Angell Family Dentistry, PA | Columbia Heights | MN | [6 empty] | 1
1801 | Dental Office | Cashman Dental Clinic, PLLC dba NJC Dentistry | Columbia Hts | MN | [6 empty] | 1
836 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Cook Hospital & C&NC | Cook | MN | [6 empty] | 1
29 | Hospital | Cook Hospital & Care Center | Cook | MN
1034 | Dental Office | Assoc. Oral & Max Surgeons, PA - Coon Rapids | Coon Rapids | MN | [6 empty] | 1
517 | Imaging Facility | Center for Diagnostic Imaging - Coon Rapids | Coon Rapids | MN | 1 | [5 empty] | 1
1353 | Dental Office | Endodontic Associates, Ltd - Coon Rapids | Coon Rapids | MN | [6 empty] | 1
84 | Hospital | Mercy Hospital** | Coon Rapids | MN | 3 | [5 empty] | 5 |  |  |  | 2
744 | Clinic | Orthopedic Partners (Div of Twin Cities Orthopedics) | Coon Rapids | MN | 1
1366 | Dental Office | PL Dental | Coon Rapids | MN | [6 empty] | 1
520 | Imaging Facility | Suburban Imaging Coon Rapids | Coon Rapids | MN | 3 | [5 empty] | 1
1032 | Imaging Facility | Suburban Imaging Coon Rapids 2 | Coon Rapids | MN | 1 |  |  |  | 1 |  | 1 |  |  |  | 1
1324 | Dental Office | The Dental Specialists - Coon Rapids | Coon Rapids | MN | [6 empty] | 1
1788 | Dental Office | Integrity Dental Care | Cottage Grove | MN | [6 empty] | 1
1369 | Dental Office | Lindgren Dental Care | Cottage Grove | MN | [6 empty] | 1
1772 | Imaging Facility | Shared Medical Services - GIL 01 (PET/CT) | Cottage Grove | WI | [5 empty] | 1
1330 | Imaging Facility | Shared Medical Services - HML 03 (MRI) | Cottage Grove | WI |  | 1
1842 | Imaging Facility | Shared Medical Services Interim CT- (Catalina Imaging - CT) | Cottage Grove | WI
1843 | Imaging Facility | Shared Medical Services Interim CT - (King's Medical - CT) | Cottage Grove | WI
1208 | Imaging Facility | Shared Medical Services - JET 01 (PET/CT) | Cottage Grove | WI | [5 empty] | 1
1131 | Imaging Facility | Shared Medical Services - KEY 01 (PET/CT) | Cottage Grove | WI | [5 empty] | 1
988 | Imaging Facility | Shared Medical Services - OSL 01 (MRI) | Cottage Grove | WI |  | 1
904 | Imaging Facility | Shared Medical Services - OSL 02 (MRI) | Cottage Grove | WI |  | 1
1332 | Imaging Facility | Shared Medical Services - SKY 02 (SPECT/CT) | Cottage Grove | WI | [8 empty] | 1
1333 | Imaging Facility | Shared Medical Services - SKY 03 (PET/CT) | Cottage Grove | WI |  |  |  |  | 1
1051 | Imaging Facility | Shared Medical Services - SMG 20 (CT) | Cottage Grove | WI | [7 empty] | 1
1052 | Imaging Facility | Shared Medical Services - SMG 32 (CT) | Cottage Grove | WI | [7 empty] | 1
1840 | Imaging Facility | Shared Medical Services - SMG 48 (MRI) | Cottage Grove | WI |  | 1
1841 | Imaging Facility | Shared Medical Services - SMR 07 (PET/CT) | Cottage Grove | WI | [5 empty] | 1
1773 | Imaging Facility | Shared Medical Services - SVM 01 (MRI) | Cottage Grove | WI |  | 1
1334 | Imaging Facility | Shared Medical Services - VIT 01 (MRI) | Cottage Grove | WI |  | 1
1414 | Imaging Facility | Shared Medical Services - VIT 02 (MRI) | Cottage Grove | WI |  | 1
1253 | Dental Office | The Oral Surgery Center - Cottage Grove | Cottage Grove | MN | [6 empty] | 1
1375 | Clinic | Altru Clinic - Crookston | Crookston | MN | [6 empty] | 1
119 | Hospital | RiverView Health | Crookston | MN | 1 | [5 empty] | 1
759 | Imaging Facility | Shared Medical Technology, Inc. SPECT- F1 @ Riverview Healthcare Association | Crookston | MN | [10 empty] | 1
835 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Cuyuna Regional Medical Center | Crosby | MN | 1 | [5 empty] | 1 |  |  |  | 1
31 | Hospital | Cuyuna Regional Medical Center | Crosby | MN
1390 | Dental Office | Comfortable Dental | Crystal | MN | [6 empty] | 1
1775 | Dental Office | Inka Dental | Crystal | MN | [6 empty] | 1
1141 | Imaging Facility | Insight Health Services Corp. | Dallas | TX |  | 1 |  |  |  | 1
1280 | Dental Office | Dassel Dental | Dassel | MN | [6 empty] | 1
66 | Hospital | Johnson Memorial Health Services | Dawson | MN | [6 empty] | 1
1120 | Imaging Facility | CDI Grand Rapids, LLC @ Deer River Health Care Center | Deer River | MN | 1
837 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Essentia Health - Deer River | Deer River | MN | [6 empty] | 1
25 | Hospital | Essentia Health - Deer River | Deer River | MN
1717 | Dental Office | Northland Smiles Corporation, PA | Deerwood | MN | [6 empty] | 1
1079 | Dental Office | Delano Family Dental Clinic, LLC | Delano | MN | [6 empty] | 1
1134 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Essentia Health St. Mary's | Detroit Lakes | MN | [10 empty] | 1
523 | Imaging Facility | Community MRI Services, LLC | Detroit Lakes | MN | 1
583 | Clinic | Sanford Health Detroit Lakes Clinic | Detroit Lakes | MN | [6 empty] | 1
147 | Hospital | St. Mary's Regional Health Center | Detroit Lakes | MN | 1 | [5 empty] | 1
1802 | Dental Office | Taylor Endodontics | Detroit Lakes | MN | [6 empty] | 1
1236 | Dental Office | Carlson Orthodontics - Duluth | Duluth | MN | [6 empty] | 1
687 | Dental Office | DentaI Implant & Reconstructive Center | Duluth | MN | [6 empty] | 1
1340 | Imaging Facility | Duluth Imaging, LLC | Duluth | MN | 3
90 | Hospital | Essentia Health - Duluth | Duluth | MN | 4 |  |  |  | 1 |  | 3
1718 | Dental Office | Gregorich Family Dental | Duluth | MN | [6 empty] | 1
1803 | Dental Office | Harborview Family Dental | Duluth | MN | [6 empty] | 1
1719 | Dental Office | Kenwood Dental, Inc. | Duluth | MN | [6 empty] | 1
1234 | Dental Office | Mount Royal Dental | Duluth | MN | [6 empty] | 1
1767 | Dental Office | Northern Endodontics | Duluth | MN | [6 empty] | 1
1720 | Dental Office | Northland Periodontal Associates - Duluth | Duluth | MN | [6 empty] | 1
1130 | Dental Office | Oral & Maxillofacial Surgical Associates - Duluth | Duluth | MN | [6 empty] | 1
737 | Clinic | Orthopaedic Associates of Duluth, PA | Duluth | MN | 1
910 | Dental Office | Pravin Aturaliya, DDS | Duluth | MN | [6 empty] | 1
143 | Hospital | St. Luke's Hospital | Duluth | MN | [6 empty] | 2 |  |  |  | 1
148 | Hospital | St. Mary's Medical Center | Duluth | MN | 2 | [5 empty] | 2
1721 | Dental Office | Summit Dental | Duluth | MN | [6 empty] | 1
1374 | Imaging Facility | Center for Diagnostic Imaging - Eagan | Eagan | MN | 1 | [5 empty] | 1
1190 | Dental Office | Eagan Family Dentistry, PA | Eagan | MN | [6 empty] | 1
1804 | Dental Office | Minnesota Orthodontics - Eagan | Eagan | MN | [6 empty] | 1
1321 | Clinic | Otolaryngology Head & Neck Surgery, PA DBA Midwest Ear, Nose, and Throat - Eagan | Eagan | MN | [6 empty] | 1
731 | Clinic | St. Paul Rheumatology, P.A. | Eagan | MN | 1
777 | Imaging Facility | Summit Orthopedics - Eagan | Eagan | MN | 1
1376 | Clinic | Twin Cities Orthopedics - Eagan | Eagan | MN | [6 empty] | 1
601 | Clinic | Urgency Room - Eagan | Eagan | MN | 0 |  | 0 |  | 0 |  | 1 |  | 0 |  | 0
956 | Dental Office | McDonald Dental | East Grand Forks | MN | [6 empty] | 1
679 | Clinic | Sanford Health East Grand Forks | East Grand Forks | MN
742 | Imaging Facility | Center for Diagnostic Imaging - Eden Prairie | Eden Prairie | MN | 1 | [5 empty] | 1
1278 | Dental Office | HealthPartners Dental Clinic | Eden Prairie | MN | [6 empty] | 1
1041 | Dental Office | Metropolitan Endodontics - Eden Prairie | Eden Prairie | MN | [6 empty] | 1
1290 | Dental Office | Midwest Oral & Maxillofacial Surgery, PA - Eden Prairie | Eden Prairie | MN | [6 empty] | 1
1805 | Dental Office | Modern Day Dental | Eden Prairie | MN | [6 empty] | 1
1291 | Dental Office | Park Dental - Eden Prairie | Eden Prairie | MN | [6 empty] | 1
1106 | Dental Office | PerioWest | Eden Prairie | MN | [6 empty] | 1
1248 | Dental Office | 44th Street Dental | Edina | MN | [6 empty] | 1
1405 | Imaging Facility | Alllina Health Imaging Center - Edina | Edina | MN | 1 | [5 empty] | 1
1325 | Dental Office | Anderson Dentalcare | Edina | MN | [6 empty] | 1
1806 | Dental Office | Centennial Lakes Dental - Edina | Edina | MN | [6 empty] | 1
1074 | Dental Office | ClearChoice Dental Implant Centers | Edina | MN | [6 empty] | 1
625 | Dental Office | Craniofacial Imaging | Edina | MN | [6 empty] | 1
1089 | Dental Office | Edina Endodontics | Edina | MN | [6 empty] | 1
1354 | Dental Office | Endodontic Associates, Ltd - Edina | Edina | MN | [6 empty] | 1
536 | Imaging Facility | LifeScan Minnesota | Edina | MN |  |  | 1 |  |  |  | 1
44 | Hospital | M Health Fairview Southdale Hospital | Edina | MN | 3 | [5 empty] | 4 |  | 1 |  | 1
707 | Clinic | Minnesota Urology, P.A. | Edina | MN | [6 empty] | 1
1762 | Dental Office | OMS Specialists - Edina | Edina | MN | [6 empty] | 1
675 | Dental Office | Oral & Max. Surgical Consultants, PA - Edina | Edina | MN | [6 empty] | 1
1104 | Dental Office | Pan Orthodontic Clinics, PLLC - Edina | Edina | MN | [6 empty] | 1
1244 | Dental Office | Stone and Johnson Dental Group | Edina | MN | [6 empty] | 1
923 | Imaging Facility | Suburban Imaging Southdale | Edina | MN | 1 | [5 empty] | 1
1213 | Dental Office | The Dental Specialists - Edina | Edina | MN | [6 empty] | 1
1433 | Clinic | The Ear, Nose and Throat Clinic and Hearing Center, PA DBA Renew ENT and Hearing Center | Edina | MN | [6 empty] | 1
545 | Clinic | Twin Cities Orthopedics MRI - Edina | Edina | MN | 2 | [5 empty] | 1
1723 | Dental Office | York Dental | Edina | MN | [6 empty] | 1 | 0
54 | Hospital | Prairie Ridge Hospital and Health Services | Elbow Lake | MN | [6 empty] | 1
838 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Ely-Bloomenson Community Hospital | Ely | MN |  | 1 |  |  |  |  | 1
37 | Hospital | Ely-Bloomenson Community Hospital | Ely | MN
1724 | Dental Office | Birch Street Dentistry | Fairmont | MN | [6 empty] | 1
519 | Clinic | Center for Specialty Care | Fairmont | MN | 1
39 | Hospital | Mayo Clinic Health System in Fairmont | Fairmont | MN | 1 | [5 empty] | 1 |  |  |  | 1
1323 | Dental Office | Snelling Avenue Dental | Falcon Heights | MN | [6 empty] | 1
690 | Imaging Facility | DMS Imaging - CT102 | Fargo | ND | [7 empty] | 1
1268 | Imaging Facility | DMS Imaging - CT108 | Fargo | ND | [7 empty] | 1
1778 | Imaging Facility | DMS Imaging - CT111 | Fargo | ND | [7 empty] | 1
644 | Imaging Facility | DMS Imaging - MR102 | Fargo | ND |  | 1
806 | Imaging Facility | DMS Imaging - MR113 | Fargo | ND |  | 1
982 | Imaging Facility | DMS Imaging - MR118 | Fargo | ND |  | 1
671 | Imaging Facility | DMS Imaging - MR119 | Fargo | ND |  | 1
645 | Imaging Facility | DMS Imaging - MR121 | Fargo | ND |  | 1
647 | Imaging Facility | DMS Imaging - MR139 | Fargo | ND |  | 1
911 | Imaging Facility | DMS Imaging - MR140 | Fargo | ND |  | 1
663 | Imaging Facility | DMS Imaging - MR141 | Fargo | ND |  | 1
811 | Imaging Facility | DMS Imaging - MR143 | Fargo | ND |  | 1
969 | Imaging Facility | DMS Imaging - MR144 | Fargo | ND |  | 1
1001 | Imaging Facility | DMS Imaging - MR147 | Fargo | ND |  | 1
985 | Imaging Facility | DMS Imaging - MR153 | Fargo | ND |  | 1
875 | Imaging Facility | DMS Imaging - MR157 | Fargo | ND |  | 1
1269 | Imaging Facility | DMS Imaging - MR159 | Fargo | ND |  | 1
1779 | Imaging Facility | DMS Imaging - MR167 | Fargo | ND |  | 1
950 | Imaging Facility | DMS Imaging - NM054 | Fargo | ND | [11 empty] | 1
951 | Imaging Facility | DMS Imaging - NM055 | Fargo | ND | [11 empty] | 1
1270 | Imaging Facility | DMS Imaging - NM066 | Fargo | ND | [11 empty] | 1
978 | Imaging Facility | DMS Imaging - NM075 | Fargo | ND | [11 empty] | 1
1048 | Imaging Facility | DMS Imaging - NM080 | Fargo | ND | [11 empty] | 1
1137 | Imaging Facility | DMS Imaging - NM081 | Fargo | ND | [11 empty] | 1
1392 | Imaging Facility | DMS Imaging - NM082 | Fargo | ND | [11 empty] | 1
1848 | Imaging Facility | DMS Imaging - NM084 | Fargo | ND | [11 empty] | 1
1849 | Imaging Facility | DMS Imaging - NM085 | Fargo | ND | [11 empty] | 1
1012 | Imaging Facility | DMS Imaging - PC015 | Fargo | ND | [11 empty] | 1
979 | Imaging Facility | DMS Imaging - PC022 | Fargo | ND | [5 empty] | 1
770 | Imaging Facility | DMS Imaging - PC023 | Fargo | ND | [5 empty] | 1
1780 | Imaging Facility | DMS Imaging - PC027 | Fargo | ND | [5 empty] | 1
1140 | Imaging Facility | DMS Interim CT - (Catalina Imaging - CT) | Fargo | ND | [7 empty] | 1
1850 | Imaging Facility | DMS Interim PC - (Shared Medical Services - PC) | Fargo | ND
1166 | Imaging Facility | Imaging Solutions, Inc. - Mobile MRI | Fargo | ND |  | 1
117 | Hospital | District One Hospital | Faribault | MN | 1 | [5 empty] | 1
1064 | Imaging Facility | Mobile Imaging Services @ District One Hospital (Minneapolis Heart Institute) | Faribault | MN | [10 empty] | 1
1209 | Dental Office | Southern Heights Dental Group | Faribault | MN | [6 empty] | 1
1725 | Dental Office | Meadowview Orthodontics | Farmington | MN | [6 empty] | 1
71 | Hospital | Lake Region Healthcare | Fergus Falls | MN | 1 | [5 empty] | 1 |  | 1
758 | Clinic | Allina Medical Clinic - Forest Lake | Forest Lake | MN
1853 | Dental Office | Aspen Dental - Forest Lake | Forest Lake | MN | [6 empty] | 1
1726 | Dental Office | Forest Lake Endodontics | Forest Lake | MN
1231 | Dental Office | True North Oral Surgery & Implants PLLC | Forest Lake | MN | [6 empty] | 1
46 | Hospital | Essentia Health - Fosston | Fosston | MN | [6 empty] | 1
1727 | Dental Office | Smile Designs by Sandwick | Fosston | MN | [6 empty] | 1
1422 | Dental Office | Swana Dental dba S-Thetics Dental | Fridley | MN | [6 empty] | 1
1081 | Dental Office | Dunbar Dental Clinic | Glencoe | MN | [6 empty] | 1
1129 | Dental Office | Forever Smiles | Glencoe | MN | [6 empty] | 1
51 | Hospital | Glencoe Regional Health | Glencoe | MN | 1 | [5 empty] | 1
582 | Imaging Facility | Mobile Imaging Services @ Glencoe Regional Health Services (Minneapolis Heart Institute) | Glencoe | MN | [10 empty] | 1
839 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Glacial Ridge Health System | Glenwood | MN | 1 | [5 empty] | 1
50 | Hospital | Glacial Ridge Health System | Glenwood | MN
735 | Imaging Facility | Minneapolis Clinic of Neurology, Ltd - Golden Valley (MRI 1) | Golden Valley | MN |  | 1
1045 | Imaging Facility | Minneapolis Clinic of Neurology, Ltd - Golden Valley (MRI 2) | Golden Valley | MN |  | 1
183 | Hospital | Regency Hospital of Minneapolis | Golden Valley | MN | [6 empty] | 1
628 | Imaging Facility | Stand Up Mid America MRI, PA | Golden Valley | MN
906 | Imaging Facility | StandUp Multipositional Advantage MRI, PA | Golden Valley | MN
1115 | Dental Office | The Dental Implant Center | Golden Valley | MN | [6 empty] | 1
907 | Imaging Facility | Wayne Dahl, DC | Golden Valley | MN | 1
61 | Hospital | Essentia Health - Graceville | Graceville | MN | [6 empty] | 1
1807 | Dental Office | Grand Marais Family Dentistry | Grand Marais | MN | [6 empty] | 1
30 | Hospital | North Shore Health | Grand Marais | MN | [6 empty] | 1
1121 | Imaging Facility | CDI Grand Rapids, LLC @ Grand Itasca Hospital | Grand Rapids | MN | 1
1105 | Dental Office | Gaalaas Orthodontics | Grand Rapids | MN | [6 empty] | 1
64 | Hospital | Grand Itasca Clinic and Hospital | Grand Rapids | MN | [6 empty] | 1 |  |  |  | 1
1188 | Dental Office | Grand Rapids Dental Care | Grand Rapids | MN | [6 empty] | 1
1264 | Dental Office | Lee D Jess DDS | Grand Rapids | MN | [6 empty] | 1
1039 | Dental Office | Miskovich Dental Clinic, PC | Grand Rapids | MN | [6 empty] | 1
1426 | Dental Office | Oral & Maxillofacial Surgical Associates - Grand Rapids | Grand Rapids | MN | [6 empty] | 1
53 | Hospital | Avera Granite Falls | Granite Falls | MN
1204 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Granite Falls Municipal Hospital & Manor | Granite Falls | MN | [6 empty] | 1
1432 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Kittson Memorial Healthcare Center | Hallock | MN | [6 empty] | 1
69 | Hospital | Kittson Memorial Healthcare Center | Hallock | MN
1852 | Dental Office | Aspen Dental - Hastings | Hastings | MN | [6 empty] | 1
1728 | Dental Office | Miller Orthodontics - Hastings | Hastings | MN
1768 | Dental Office | Miller-TCO Joint Venture c/o Miller Orthodontics | Hastings | MN | [6 empty] | 1
115 | Hospital | Regina Hospital | Hastings | MN | 1 | [5 empty] | 1 |  |  |  | 1
1782 | Dental Office | Twin Cities Oral & Maxillofacial Surgery, P.A. - Hastings | Hastings | MN | [7 empty] | 0
58 | Hospital | Hendricks Community Hospital Association | Hendricks | MN | [6 empty] | 1
1293 | Dental Office | Great Lakes Endodontics | Hermantown | MN | [6 empty] | 1
862 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Fairview University Medical Center - Mesabi | Hibbing | MN | 1 | [5 empty] | 1
596 | Clinic | Essentia Health Hibbing Clinic | Hibbing | MN
85 | Hospital | Fairview Range | Hibbing | MN | [10 empty] | 1
1808 | Dental Office | Northern Oral & Maxillofacial Surgeons - Hibbing | Hibbing | MN | [6 empty] | 1
1218 | Dental Office | Northland Family Dental | Hibbing | MN | [6 empty] | 1
1116 | Dental Office | Gendler Dental Center | Hopkins | MN | [6 empty] | 1
1809 | Dental Office | Tooth By the Lake | Hopkins | MN | [6 empty] | 1
1746 | Imaging Facility | Kings Medical Group (CT) | Hudson | OH | [7 empty] | 1
1294 | Dental Office | Sorenson Dental | Hugo | MN | [6 empty] | 1
553 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Hutchinson Health | Hutchinson | MN | 1 | [5 empty] | 1 |  |  |  | 1
1810 | Dental Office | Centrasota Oral & Maxillofacial Surgeons - Hutchinson | Hutchinson | MN | [6 empty] | 1
1178 | Dental Office | Hutchinson Dental Center | Hutchinson | MN | [6 empty] | 1
1729 | Dental Office | Hutchinson Family Dentistry | Hutchinson | MN | [6 empty] | 1
62 | Hospital | Hutchinson Health | Hutchinson | MN
1227 | Dental Office | Parkview Dental, PLLC | Hutchinson | MN | [6 empty] | 1
841 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Rainy Lake Medical Center | International Falls | MN |  | 1 |  |  |  |  | 1
1266 | Clinic | Essentia Health International Falls Clinic | International Falls | MN
45 | Hospital | Rainy Lake Medical Center | International Falls | MN
1023 | Clinic | Andros ENT & Sleep Center, PA | Inver Grove Heights | MN | [6 empty] | 1
1042 | Dental Office | Metropolitan Endodontics - Inver Grove Heights | Inver Grove Heights | MN | [6 empty] | 1
1360 | Dental Office | Miller Orthodontics - Inver Grove Heights | Inver Grove Heights | MN | [6 empty] | 1
65 | Hospital | Sanford Jackson Medical Center | Jackson | MN | [6 empty] | 1
70 | Hospital | Mayo Clinic Health System in Lake City | Lake City | MN | [6 empty] | 1
1284 | Dental Office | HealthPartners Dental Specialty Center | Lake Elmo | MN | [6 empty] | 1
1263 | Dental Office | McGann Family Dental | Lake Elmo | MN | [6 empty] | 1
1205 | Clinic | Noran Neurological Clinic, PA | Lake Elmo | MN | 1
1381 | Dental Office | The Dental Specialists High Pointe | Lake Elmo | MN | [6 empty] | 1
1122 | Clinic | Twin Cities Orthopedics - Lake Elmo | Lake Elmo | MN | 1
1730 | Dental Office | Advanced Oral Surgery | Lakeville | MN | [6 empty] | 1
1215 | Imaging Facility | Center for Diagnostic Imaging - Lakeville | Lakeville | MN | 1
1228 | Dental Office | Dakota Valley OMS - Lakeville | Lakeville | MN | [6 empty] | 1
1295 | Dental Office | Lakeville Advanced Dental Care | Lakeville | MN | [6 empty] | 1
1326 | Dental Office | Lakeville Orthodontics | Lakeville | MN | [6 empty] | 1
1091 | Dental Office | Modern Care Endodontics | Lakeville | MN | [6 empty] | 1
92 | Hospital | Ridgeview Le Sueur Medical Center | Le Sueur | MN | [6 empty] | 1
1177 | Dental Office | Gracepoint Family Dentistry | Lexington | MN | [6 empty] | 1
1087 | Dental Office | Hunter Endodontics | Lilydale | MN | [6 empty] | 1
842 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Meeker Memorial Hospital | Litchfield | MN | 1 | [5 empty] | 1 |  |  |  | 1
80 | Hospital | Meeker Memorial Hospital | Litchfield | MN
843 | Imaging Facility | Central Minnesota Diagnostic, Inc @ St. Gabriel's Hospital | Little Falls | MN | 1 | [5 empty] | 1 |  |  |  | 1
1811 | Dental Office | Northland Smiles - Little Falls | Little Falls | MN | [6 empty] | 1
136 | Hospital | St. Gabriel's Hospital | Little Falls | MN
1731 | Dental Office | Lakeside Family Dentistry | Long Lake | MN | [6 empty] | 1
76 | Hospital | CentraCare Health System - Long Prairie | Long Prairie | MN
844 | Imaging Facility | Central Minnesota Diagnostic, Inc @ CentraCare Health - Long Prairie | Long Prairie | MN | 1 | [5 empty] | 1
1409 | Dental Office | Lakeland Dental - Long Prairie | Long Prairie | MN | [6 empty] | 1
1399 | Imaging Facility | Catalina Imaging, Inc. CT28 | Loomis | CA | [7 empty] | 1
21 | Hospital | Sanford Luverne Medical Center | Luverne | MN | [6 empty] | 1
77 | Hospital | Madelia Community Hospital Inc. | Madelia | MN | [6 empty] | 1
964 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Madison Hospital | Madison | MN | [6 empty] | 1
1282 | Dental Office | Madison Dental Clinic | Madison | MN | [6 empty] | 1
78 | Hospital | Madison Hospital | Madison | MN
845 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Mahnomen Health Center | Mahnomen | MN | [6 empty] | 1
79 | Hospital | Mahnomen Health Center | Mahnomen | MN
1193 | Dental Office | Mahtomedi Family Dental | Mahtomedi | MN | [6 empty] | 1
1732 | Dental Office | Amanda L. Hyland, DDS, PA | Mankato | MN | [6 empty] | 1
1722 | Dental Office | Aspen Dental - Mankato | Mankato | MN | [6 empty] | 1
1296 | Dental Office | Associates in Oral & Maxiollofacial Surgery | Mankato | MN | [6 empty] | 1
901 | Clinic | Mankato Clinic | Mankato | MN | [6 empty] | 1
1367 | Clinic | Mankato Clinic - Wickersham Health Campus | Mankato | MN
1169 | Clinic | Mayo Clinic Eastridge | Mankato | MN
63 | Hospital | Mayo Clinic Health System in Mankato | Mankato | MN | 2 | [5 empty] | 2 |  |  |  | 2
1212 | Dental Office | Southeastern Minnesota Oral & Maxillofacial Surgery - Mankato | Mankato | MN | [6 empty] | 1
1362 | Dental Office | Southern Minnesota Endodontics, LLC | Mankato | MN | [6 empty] | 1
1262 | Dental Office | Southern Minnesota Orthodontics PA | Mankato | MN | [6 empty] | 1
1733 | Dental Office | Southern Minnesota Periodontics, PA | Mankato | MN | [6 empty] | 1
732 | Clinic | The Orthopedic & Fracture Clinic, PA | Mankato | MN | 2
1069 | Dental Office | Allied Endodontic Specialists, PA | Maple Grove | MN | [6 empty] | 1
1211 | Dental Office | Almond Dental - Maple Grove | Maple Grove | MN | [6 empty] | 1
1297 | Dental Office | Al-Shifa Dentistry, PA | Maple Grove | MN | [6 empty] | 1
1038 | Dental Office | Assoc. Oral & Max Surgeons, PA - Maple Grove | Maple Grove | MN | [6 empty] | 1
1118 | Dental Office | Brook West Family Dentistry | Maple Grove | MN | [6 empty] | 1
629 | Imaging Facility | Center for Diagnostic Imaging - Maple Grove | Maple Grove | MN | 2 | [5 empty] | 1
1199 | Dental Office | Elm Creek Dental | Maple Grove | MN | [6 empty] | 1
1083 | Dental Office | Endodontic Professionals, PA - Maple Grove | Maple Grove | MN | [6 empty] | 1
708 | Clinic | Fairview Maple Grove Medical Center | Maple Grove | MN | 1 | [5 empty] | 1 |  |  |  | 1
1418 | Dental Office | Fu Wong DDS | Maple Grove | MN | [6 empty] | 1
549 | Imaging Facility | Imaging Center of Maple Grove | Maple Grove | MN | 1 | [5 empty] | 1
1734 | Dental Office | Kottemann Orthodontics, PLLC - Maple Grove | Maple Grove | MN | [6 empty] | 1
191 | Hospital | Maple Grove Hospital | Maple Grove | MN | 1 | [5 empty] | 1 |  |  |  | 1
1359 | Dental Office | Maple Grove Periodontics & Implant Dentistry PLLC | Maple Grove | MN | [6 empty] | 1
1298 | Dental Office | Metro Dental Care - Maple Grove, 95th Ave | Maple Grove | MN | [6 empty] | 1
1219 | Clinic | Oakdale Ear, Nose & Throat Clinic - Maple Grove | Maple Grove | MN | [6 empty] | 1
1763 | Dental Office | OMS Specialists - Maple Grove | Maple Grove | MN | [6 empty] | 1
550 | Clinic | Park Nicollet Clinic Maple Grove | Maple Grove | MN | 2 | [5 empty] | 1
551 | Imaging Facility | Suburban Imaging Maple Grove | Maple Grove | MN | 1 | [5 empty] | 1
1276 | Clinic | Twin Cities Orthopedics - Maple Grove | Maple Grove | MN | [6 empty] | 1
722 | Clinic | Aspen Medical Group - Maplewood | Maplewood | MN
552 | Imaging Facility | Center for Diagnostic Imaging - Maplewood | Maplewood | MN | 1 | [5 empty] | 1
1322 | Dental Office | Henrickson Dental | Maplewood | MN | [6 empty] | 1
1265 | Imaging Facility | Maplewood Imaging | Maplewood | MN | 1 | [5 empty] | 1
180 | Hospital | M Health Fairview St. John's Hospital | Maplewood | MN | 2 |  |  |  | 1 |  | 2 |  |  |  | 1
753 | Clinic | Minnesota Oncology Hematology | Maplewood | MN |  |  |  |  | 1 |  | 1
1182 | Dental Office | Nerness Endodontics, P.C. | Maplewood | MN | [6 empty] | 1
1735 | Dental Office | Ridge Periodontics & Dental Implants | Maplewood | MN | [6 empty] | 1
1152 | Dental Office | True North Oral Surgery & Implants PLLC | Maplewood | MN | [6 empty] | 1
1337 | Dental Office | Twin Cities Oral & Maxillofacial Surgery, P.A. - Maplewood | Maplewood | MN | [6 empty] | 1
172 | Hospital | Avera Marshall Regional Medical Center | Marshall | MN | 1 | [5 empty] | 1 |  |  |  |  | 1
1145 | Dental Office | Marshall Dental Excellence | Marshall | MN | [6 empty] | 1
1149 | Dental Office | Smile Designers | Marshall | MN | [6 empty] | 1
1005 | Imaging Facility | Southwest Minnesota Orthopedics and Sports Medicine, Inc. - Marshall | Marshall | MN | 1
81 | Hospital | CentraCare Health - Melrose | Melrose | MN
846 | Imaging Facility | Central Minnesota Diagnostic, Inc @ CentraCare Health - Melrose | Melrose | MN | 1 | [5 empty] | 1
867 | Imaging Facility | Central Minnesota Diagnostic, Inc - Mobile MRI Route A | Milaca | MN |  | 1
865 | Imaging Facility | Central Minnesota Diagnostic, Inc - Mobile MRI Route B | Milaca | MN |  | 1
864 | Imaging Facility | Central Minnesota Diagnostic, Inc - Mobile SPECT Route A | Milaca | MN | [11 empty] | 1
1279 | Dental Office | Milaca Family Dental | Milaca | MN | [6 empty] | 1
2 | Hospital | Abbott Northwestern Hospital | Minneapolis | MN | 5 |  | 1 |  | 1 |  | 7 |  | 1 |  | 1
544 | Imaging Facility | Center for Clinical Imaging Research | Minneapolis | MN | 2 |  |  |  | 1
1812 | Dental Office | Charles M. McCann, DDS | Minneapolis | MN | [6 empty] | 1
91 | Hospital | Children's Minnesota***** | Minneapolis | MN | 5 | [5 empty] | 3 | 1 |  |  | 2
1352 | Dental Office | Diamond Dental | Minneapolis | MN | [6 empty] | 1
700 | Clinic | Ear, Nose & Throat Specialty Care - Minneapolis | Minneapolis | MN | [6 empty] | 1
1813 | Dental Office | Greenway Dental | Minneapolis | MN | [6 empty] | 1
59 | Hospital | Hennepin Healthcare | Minneapolis | MN | 4 |  |  |  | 1 |  | 5 |  |  |  | 3
1814 | Dental Office | Larson Dental | Minneapolis | MN | [6 empty] | 1
1155 | Clinic | Mayo Clinic - MAYO CLINIC SQUARE | Minneapolis | MN | 1
1090 | Dental Office | Metropolitan Periodontists, PA | Minneapolis | MN | [6 empty] | 1
185 | Hospital | M Health Fairview University of Minnesota Medical Center | Minneapolis | MN | 6 |  |  |  | 1 |  | 4 |  | 3 |  | 2
1815 | Dental Office | Minneapolis Dentistry Company | Minneapolis | MN | [6 empty] | 1
507 | Clinic | Minneapolis Orthopaedics, Ltd. - Minneapolis | Minneapolis | MN | 1 | 0
1816 | Dental Office | Minnesota Department of Veterans Affairs | Minneapolis | MN | [6 empty] | 1
726 | Imaging Facility | Mobile Imaging Services c/o Abbot Northwestern Hospital -Mobile SPECT3 (Minneapolis Heart Institute) | Minneapolis | MN | [11 empty] | 1
1300 | Dental Office | Nicollet Dental | Minneapolis | MN | [6 empty] | 1
701 | Clinic | Noran Neurological Clinic, PA | Minneapolis | MN | 2
1301 | Dental Office | Northeast Dental Wellness, PA | Minneapolis | MN | [6 empty] | 1
1024 | Dental Office | Parkway Dental - Minneapolis | Minneapolis | MN | [6 empty] | 1
819 | Clinic | Physicians Group, LLC | Minneapolis | MN |  | 1
1787 | Dental Office | Tangletown Dental | Minneapolis | MN | [6 empty] | 1
1373 | Dental Office | University of Minnesota - Boynton Health Service | Minneapolis | MN | [6 empty] | 1
1249 | Dental Office | University of Minnesota School of Dentistry | Minneapolis | MN | [6 empty] | 3
1225 | Clinic | U of M Health Clinics and Surgery Center | Minneapolis | MN | 3 | [5 empty] | 2
1736 | Dental Office | Minneota Family Dental, Inc. | Minneota | MN | [6 empty] | 1
1429 | Clinic | Advancements in Allergy & Asthma Care, Ltd | Minnetonka | MN | [6 empty] | 1
1302 | Dental Office | Blue Ridge Dental Center | Minnetonka | MN | [6 empty] | 1
300 | Surgical Center | Children's Healthcare Services Inc. DBA Children's - Minnetonka | Minnetonka | MN | 1
1281 | Dental Office | Dentistry by Design | Minnetonka | MN | [6 empty] | 1
1339 | Dental Office | Holger Dental Group | Minnetonka | MN | [6 empty] | 1
1817 | Dental Office | Hopkins Crossroads Dentistry | Minnetonka | MN | [6 empty] | 1
1256 | Clinic | North Memorial Medical Clinic - Minnetonka | Minnetonka | MN | 1 | [5 empty] | 1
17 | Hospital | CCM Health | Montevideo | MN
1135 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Chippewa County Montevideo Hospital | Montevideo | MN |  | 1 |  |  |  |  | 1
1716 | Dental Office | David Burrichter, DDS, PLLC | Montevideo | MN | [6 empty] | 1
1737 | Dental Office | Montgomery Family Dental, PLLC | Montgomery | MN | [6 empty] | 1
94 | Hospital | CentraCare Health - Monticello | Monticello | MN
848 | Imaging Facility | Central Minnesota Diagnostic, Inc @ CentraCare Health - Monticello | Monticello | MN | 1 | [5 empty] | 1 |  |  |  | 1
1329 | Dental Office | Centrasota Oral & Maxillofacial Surgeons - Monticello | Monticello | MN | [6 empty] | 1
1357 | Dental Office | Great River Endodontics, PA - Monticello | Monticello | MN | [6 empty] | 1 | 0
1417 | Dental Office | Lakeland Family Dental | Monticello | MN | [6 empty] | 1
1086 | Dental Office | Matthew S. Ames, DDS, MS, PLLC | Moorhead | MN | [6 empty] | 1
1818 | Dental Office | Moorhead Dental Associates | Moorhead | MN | [6 empty] | 1
849 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Mercy Hospital | Moose Lake | MN | 1 | [5 empty] | 1
83 | Hospital | Mercy Hospital | Moose Lake | MN
850 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Welia Health | Mora | MN | 1 | [5 empty] | 1 |  |  |  | 1
67 | Hospital | Welia Health | Mora | MN
152 | Hospital | Stevens Community Medical Center | Morris | MN | 1 | [5 empty] | 1
1260 | Dental Office | Affordable Care Incorporated | Morrisville | NC | [6 empty] | 4
1855 | Dental Office | West Lakes Dentistry, PA - Mound | Mound | MN | [6 empty] | 1
1070 | Dental Office | Apple Tree Dental - Mounds View | Mounds View | MN | [6 empty] | 1
1819 | Dental Office | Long Lake Family Dentistry | New Brighton | MN | [6 empty] | 1
1303 | Dental Office | New Brighton Family Dentistry | New Brighton | MN | [6 empty] | 1
1820 | Dental Office | Silver Lake Dental | New Brighton | MN | [6 empty] | 1
1195 | Dental Office | Comfort Dental Family & Cosmetic Dentistry | New Hope | MN | [6 empty] | 1
114 | Hospital | Mayo Clinic Health System in New Prague | New Prague | MN | [6 empty] | 1
527 | Imaging Facility | Mobile Imaging Services @ New Ulm Medical Center (Minneapolis Heart Institute) | New Ulm | MN | [10 empty] | 1
127 | Hospital | New Ulm Medical Center | New Ulm | MN | 1 | [5 empty] | 1
1784 | Dental Office | Woodview Dental Clinic | New Ulm | MN | [6 empty] | 1
1096 | Dental Office | North Branch Dental | North Branch | MN | [6 empty] | 1
686 | Clinic | Allina Medical Clinic - Northfield | Northfield | MN | [6 empty] | 1
528 | Imaging Facility | Mobile Imaging Services @ Allina Medical Clinic - Northfield (Minneapolis Heart Institute) | Northfield | MN | [10 empty] | 1
105 | Hospital | Northfield Hospital & Clinics | Northfield | MN | 1 | [5 empty] | 1 |  |  |  |  | 3
1251 | Dental Office | Professional Dental Group | Northfield | MN | [6 empty] | 1
1415 | Dental Office | Commerce Drive Dental Group | North Mankato | MN | [6 empty] | 1
1097 | Dental Office | North Mankato Family Dentistry | North Mankato | MN | [6 empty] | 1
1790 | Dental Office | Endodontic Associates, Ltd - North Oaks | North Oaks | MN | [6 empty] | 1
1124 | Dental Office | Momenta Oral and Maxillofacial Surgery | North Oaks | MN | [6 empty] | 1
1846 | Dental Office | Serene Oaks Dental | North Oaks | MN | [6 empty] | 1
1348 | Dental Office | All Family Dental, LTD | Oakdale | MN | [6 empty] | 1
1363 | Dental Office | Oakdale Family Dentistry | Oakdale | MN | [6 empty] | 1
1046 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Renville County Hospital | Olivia | MN | [6 empty] | 1
116 | Hospital | Olivia Hospital & Clinic | Olivia | MN | 1
851 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Mille Lacs Health System | Onamia | MN | [6 empty] | 1
28 | Hospital | Mille Lacs Health System | Onamia | MN
108 | Hospital | Ortonville Area Health Services | Ortonville | MN | [6 empty] | 1
1791 | Dental Office | Endodontic Associates, Ltd - Otsego | Otsego | MN | [6 empty] | 1
1150 | Dental Office | Otsego Dental | Otsego | MN | [6 empty] | 1
1185 | Dental Office | Dakota Valley OMS - Owatonna | Owatonna | MN | [6 empty] | 1
746 | Clinic | Mayo Clinic Health System - Owatonna | Owatonna | MN | 1
57 | Hospital | Owatonna Hospital | Owatonna | MN | [6 empty] | 1
1112 | Dental Office | Southeastern Minnesota Oral & Maxillofacial Surgery - Owatonna | Owatonna | MN | [6 empty] | 1
852 | Imaging Facility | Central Minnesota Diagnostic, Inc @ St. Joseph's Area Health Services, Inc. | Park Rapids | MN |  | 1 |  |  |  |  | 1 |  |  |  | 1
140 | Hospital | CHI St. Joseph's Health | Park Rapids | MN
110 | Hospital | CentraCare Health - Paynesville | Paynesville | MN | 1
937 | Imaging Facility | Central Minnesota Diagnostic, Inc @ CentraCare Health - Paynesville | Paynesville | MN | [6 empty] | 1
853 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Perham Health | Perham | MN | 1 | [5 empty] | 1
1423 | Dental Office | Perham Dental Specialties, LLC | Perham | MN | [6 empty] | 1
1738 | Dental Office | Perham Family Dentistry | Perham | MN | [6 empty] | 1
112 | Hospital | Perham Health | Perham | MN
1739 | Dental Office | Reuter Family Dentistry PC - Perham | Perham | MN | [6 empty] | 1
1740 | Dental Office | All About Smiles | Pipestone | MN | [6 empty] | 1
938 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Pipestone County Medical Center | Pipestone | MN | [6 empty] | 1
113 | Hospital | Pipestone County Medical Center | Pipestone | MN | 1
1741 | Dental Office | Artisan Dental | Plymouth | MN | [6 empty] | 1
1742 | Dental Office | Bay Creek Dental | Plymouth | MN | [6 empty] | 1
1761 | Dental Office | Boger Dental | Plymouth | MN | [6 empty] | 1
1436 | Imaging Facility | Center for Diagnostic Imaging - Plymouth | Plymouth | MN | 1 | [5 empty] | 1
1210 | Dental Office | Cities Dental Group | Plymouth | MN | [6 empty] | 1
1356 | Dental Office | Endodontic Professionals, PA - Plymouth | Plymouth | MN | [6 empty] | 1
1821 | Dental Office | Family & Cosmetic Gentle Dentistry - Plymouth | Plymouth | MN | [6 empty] | 1
581 | Imaging Facility | Imaging Center of Plymouth | Plymouth | MN | 1 | [5 empty] | 1
977 | Imaging Facility | Interim Diagnostic Imaging, LLC - CT-1 | Plymouth | MN | [7 empty] | 1
1117 | Dental Office | Metropolitan Prosthodontics, PA | Plymouth | MN | [6 empty] | 1
1161 | Dental Office | Minnesota Head & Neck Pain Clinic - Plymouth | Plymouth | MN
1304 | Dental Office | Minnesota Maxillofacial & Oral Consultants, PA - Plymouth | Plymouth | MN | [6 empty] | 1
1159 | Dental Office | Minnesota Orthodontics - Plymouth | Plymouth | MN | [6 empty] | 1
1361 | Dental Office | Mondale Dental | Plymouth | MN | [6 empty] | 1
562 | Imaging Facility | MRI Pathways | Plymouth | MN | 1
546 | Imaging Facility | Open Sided MRI | Plymouth | MN
1425 | Dental Office | Park Dental Plymouth Lakes | Plymouth | MN | [6 empty] | 1
1163 | Dental Office | Rasmussen Dental | Plymouth | MN | [6 empty] | 1
1157 | Dental Office | Smile Design Dentistry | Plymouth | MN | [6 empty] | 1
854 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Fairview Northland Regional Hospital | Princeton | MN | 1 | [5 empty] | 1 |  |  |  | 1
41 | Hospital | M Health Fairview Northland Medical Center | Princeton | MN
1743 | Dental Office | White Birch Dental, PLLC | Princeton | MN | [6 empty] | 1
138 | Hospital | Mayo Clinic Health System in Red Wing | Red Wing | MN | 1 | [5 empty] | 1 |  |  |  | 1
1095 | Dental Office | Noesen and Associates | Red Wing | MN | [6 empty] | 1
98 | Hospital | Carris Health - Redwood | Redwood Falls | MN
855 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Redwood Area Hospital | Redwood Falls | MN |  | 1 |  |  |  |  | 1
1100 | Dental Office | Ethos Dental | Richfield | MN | [6 empty] | 1
1245 | Dental Office | North Memorial Clinic - Oral and Maxillofacial Surgery | Robbinsdale | MN | [6 empty] | 1
103 | Hospital | North Memorial Health Hospital | Robbinsdale | MN | 3 |  |  |  | 1 |  | 3 |  |  |  | 2
1126 | Clinic | Oakdale Ear, Nose & Throat Clinic - Robbinsdale | Robbinsdale | MN | [6 empty] | 1
1386 | Dental Office | Advanced Periodontics & Implants | Rochester | MN
1189 | Dental Office | Affordable Dentures - Rochester | Rochester | MN
1388 | Dental Office | Anthony K Olson, DDS | Rochester | MN
1822 | Dental Office | Gentling Dental Care | Rochester | MN | [6 empty] | 1
1243 | Dental Office | GLK Orthodontics | Rochester | MN | [6 empty] | 1
1085 | Dental Office | GLK Orthodontics | Rochester | MN | [6 empty] | 1
1305 | Dental Office | Implant & Periodontal Professionals - Rochester | Rochester | MN | [6 empty] | 1
782 | Clinic | Mayo Clinic - CHARLTON BLDG | Rochester | MN | 17 | [5 empty] | 2
783 | Clinic | Mayo Clinic - GONDA BLDG | Rochester | MN | 10 | [5 empty] | 5
145 | Hospital | Mayo Clinic Hospital - Rochester**** | Rochester | MN | 7 |  | 1 |  | 5 |  | 7 |  | 5 |  | 5
1174 | Clinic | Mayo Clinic - JACOBSON BLDG | Rochester | MN | 1
794 | Clinic | Mayo Clinic - MAYO BLDG | Rochester | MN | [6 empty] | 5
1823 | Dental Office | Northwest Dental Group - Rochester1 | Rochester | MN | [6 empty] | 1
1857 | Dental Office | Northwest Dental Group - Rochester 2 | Rochester | MN | [6 empty] | 1
107 | Hospital | Olmsted Medical Center | Rochester | MN | 1 | [5 empty] | 1 |  | 1
1103 | Dental Office | Overby Orthodontics, LLC - Rochester | Rochester | MN | [6 empty] | 1
1364 | Dental Office | Periodontal Specialists, PA - Rochester | Rochester | MN | [6 empty] | 1
1306 | Dental Office | Psimos Oral Surgery | Rochester | MN | [6 empty] | 1
1338 | Dental Office | Rochester Dental Clinic | Rochester | MN | [6 empty] | 1
1181 | Dental Office | Rochester Endodontics, PA | Rochester | MN | [6 empty] | 1
1428 | Dental Office | Southeastern Minnesota Oral & Maxillofacial Surgery - Rochester | Rochester | MN | [6 empty] | 1
1387 | Dental Office | Ted W Thull, DDS | Rochester | MN
1421 | Dental Office | Valhalla Building CBCT Owners c/o Advanced Periodontics & Implants | Rochester | MN | [6 empty] | 1
1389 | Dental Office | Zumbro Family Dental | Rochester | MN
1088 | Dental Office | Zumbro Valley Endodontics, PA | Rochester | MN | [6 empty] | 1
856 | Imaging Facility | Central Minnesota Diagnostic, Inc @ LifeCare Medical Center | Roseau | MN | 1 | [5 empty] | 1
121 | Hospital | LifeCare Medical Center | Roseau | MN
1744 | Dental Office | Roseau Dental Clinic | Roseau | MN | [6 empty] | 1
761 | Imaging Facility | Shared Medical Technology, Inc. SPECT- F3 @ LifeCare Medical Center | Roseau | MN | [10 empty] | 1
1844 | Dental Office | Bosch Dental | Roseville | MN | [6 empty] | 1
1216 | Imaging Facility | Center for Diagnostic Imaging - Roseville | Roseville | MN | 1 | [5 empty] | 1
1307 | Dental Office | Designing Smiles, PA | Roseville | MN | [6 empty] | 1
1792 | Dental Office | Emergency Dental Care USA | Roseville | MN | [6 empty] | 1
1355 | Dental Office | Endodontic Associates, Ltd - Roseville | Roseville | MN | [6 empty] | 1
1384 | Dental Office | Prosthodontic Associates | Roseville | MN | [6 empty] | 1
1187 | Dental Office | The Dental Specialists - Roseville | Roseville | MN | [6 empty] | 1
1167 | Dental Office | Soft Dental | Rush City | MN | [6 empty] | 1
124 | Hospital | Essentia Health - Sandstone | Sandstone | MN | [6 empty] | 1
1383 | Dental Office | Artistic Smile Dental Center | Sartell | MN | [6 empty] | 1
655 | Imaging Facility | Center for Diagnostic Imaging - Sartell | Sartell | MN | 1
1151 | Dental Office | Central Minnesota Endodontics | Sartell | MN | [6 empty] | 1
1408 | Dental Office | i-Implant Dentistry | Sartell | MN
1017 | Clinic | Interventional Pain & Physical Medicine Clinic | Sartell | MN | 1
1824 | Dental Office | Medical Arts Dental | Sartell | MN | [6 empty] | 1
1144 | Dental Office | Regional Orthodontic Center | Sartell | MN | [6 empty] | 1
733 | Imaging Facility | St. Cloud Orthopedic Associates, Ltd. | Sartell | MN | 1
149 | Hospital | CentraCare Health - Sauk Centre | Sauk Centre | MN | [11 empty] | 1
857 | Imaging Facility | Central Minnesota Diagnostic, Inc @ CentraCare Health - Sauk Centre | Sauk Centre | MN | [6 empty] | 1
1180 | Dental Office | James R. Williams, DDS, PA | Sauk Centre | MN | [6 empty] | 1
1128 | Dental Office | Cherrywood Dental Care | Savage | MN | [6 empty] | 1
1102 | Dental Office | Oral & Max. Surgical Consultants, PA - Savage | Savage | MN | [6 empty] | 1
1191 | Dental Office | Smiles of Distinction | Savage | MN | [6 empty] | 1
1309 | Dental Office | O'Brien Dental Care | Shakopee | MN | [6 empty] | 1
1747 | Dental Office | RiverRock Dental | Shakopee | MN | [6 empty] | 1
1310 | Dental Office | Shakopee Dental | Shakopee | MN | [6 empty] | 1
135 | Hospital | St. Francis Regional Medical Center | Shakopee | MN | 2 | [5 empty] | 3 |  | 1
1071 | Dental Office | Boulos Dental Care | Shoreview | MN | [6 empty] | 1
613 | Imaging Facility | Sanford USD Medical Center - MRI-1 | Sioux Falls | SD |  | 1
614 | Imaging Facility | Sanford USD Medical Center - MRI-2 | Sioux Falls | SD |  | 1
615 | Imaging Facility | Sanford USD Medical Center - MRI-3 | Sioux Falls | SD |  | 1
99 | Hospital | Murray County Medical Center | Slayton | MN | 1 | [5 empty] | 1
858 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Sleepy Eye Medical Center | Sleepy Eye | MN | [6 empty] | 1
129 | Hospital | Sleepy Eye Medical Center | Sleepy Eye | MN
1829 | Dental Office | Green Lake Dental | Spicer | MN | [6 empty] | 1
1839 | Dental Office | Pura Vida Orthodontics | Spring Lake Park | MN | [6 empty] | 1
1748 | Dental Office | Stone Arch Dental | Spring Lake Park | MN | [6 empty] | 1
1830 | Dental Office | Family & Cosmetic Gentle Dentistry - Spring Park | Spring Park | MN | [6 empty] | 1
1789 | Dental Office | Almond Dental - St. Anthony | St. Anthony | MN | [6 empty] | 1
1299 | Dental Office | Endodontic Professionals, PA - St. Anthony | St. Anthony | MN | [6 empty] | 1
1221 | Dental Office | Midwest Dental | St. Anthony | MN | [6 empty] | 1
1207 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Lakewood Health System | Staples | MN | 1 | [5 empty] | 1 |  |  |  | 1
1410 | Dental Office | Lakeland Dental - Staples | Staples | MN | [6 empty] | 1
161 | Hospital | Lakewood Health System | Staples | MN
1825 | Dental Office | Affordable Dentures & Implants - St. Cloud, PC | St. Cloud | MN
591 | Imaging Facility | Center for Diagnostic Imaging - St. Cloud | St. Cloud | MN | 1
743 | Clinic | Centracare Clinic St. Cloud Medical Group - Northwest | St. Cloud | MN | [6 empty] | 1
1377 | Dental Office | Centrasota Dental | St. Cloud | MN | [6 empty] | 1
580 | Dental Office | Centrasota Oral & Maxillofacial Surgeons - St. Cloud | St. Cloud | MN | [6 empty] | 1
1176 | Dental Office | Excellence Dental | St. Cloud | MN | [6 empty] | 1
1084 | Dental Office | Great River Endodontics, PA - St. Cloud | St. Cloud | MN | [6 empty] | 1
1365 | Dental Office | Peterson Dental Associates, PA | St. Cloud | MN | [6 empty] | 1
1826 | Dental Office | Smile City | St. Cloud | MN | [6 empty] | 1
764 | Clinic | St. Cloud Ear, Nose & Throat-Head and Neck Clinic | St. Cloud | MN | [6 empty] | 1
132 | Hospital | St. Cloud Hospital | St. Cloud | MN | 2 |  |  |  | 1 |  | 5 |  | 1 |  | 3 | 3
1749 | Dental Office | Stone Gate Dental Associates | St. Cloud | MN | [6 empty] | 1
1754 | Dental Office | Carlson Distinctive Dentistry, PLLC | Stillwater | MN | [6 empty] | 1
1259 | Dental Office | Hensler and Kocian Orthodontics - Stillwater | Stillwater | MN | [6 empty] | 1
74 | Hospital | Lakeview Hospital | Stillwater | MN | 1 | [5 empty] | 1
1312 | Dental Office | Land of Lakes Endodontics, PA | Stillwater | MN | [6 empty] | 1
1372 | Dental Office | Park Dental St. Croix Valley | Stillwater | MN | [6 empty] | 1
1109 | Dental Office | River Valley Endodontics | Stillwater | MN | [6 empty] | 1
1114 | Dental Office | Steven D. Johnson, DDS, PA | Stillwater | MN | [6 empty] | 1
1214 | Dental Office | The Oral Surgery Center - Stillwater | Stillwater | MN | [6 empty] | 1
755 | Clinic | Twin Cities Orthopedics - Stillwater | Stillwater | MN | 1
171 | Hospital | Mayo Clinic Health System in St. James | St. James | MN | [6 empty] | 1
1750 | Dental Office | Advancements in Dentistry, LLC - St. Louis Park | St. Louis Park | MN | [6 empty] | 1
1067 | Dental Office | All Care Dentistry | St. Louis Park | MN | [6 empty] | 1
574 | Imaging Facility | Center for Diagnostic Imaging - St. Louis Park | St. Louis Park | MN | 3 | [5 empty] | 2
1283 | Dental Office | Excel Dentistry | St. Louis Park | MN | [6 empty] | 1
1382 | Dental Office | Northern Star OMS | St. Louis Park | MN | [6 empty] | 1
575 | Clinic | Park Nicollet Clinic St. Louis Park | St. Louis Park | MN | 2 | [5 empty] | 1
86 | Hospital | Park Nicollet Methodist Hospital | St. Louis Park | MN | 3 |  |  |  | 1 |  | 3 | 1 | 1 |  | 2
1093 | Dental Office | Thomas E Hoover, DDS | St. Louis Park | MN | [6 empty] | 1
962 | Dental Office | Twin Cities Periodontics | St. Louis Park | MN | [6 empty] | 1
1192 | Dental Office | Great River Endodontics, PA - St. Michael | St. Michael | MN | [6 empty] | 1
680 | Clinic | Aspen Medical Group - Bandana Square | St. Paul | MN | [6 empty] | 1
1183 | Dental Office | Associated Dentists | St. Paul | MN | [6 empty] | 1
555 | Imaging Facility | Center for Diagnostic Imaging - Mendota Heights | St. Paul | MN | 1 | [5 empty] | 1
1745 | Dental Office | Dr. Bob Maley Family Dentistry | St. Paul | MN | [6 empty] | 115
891 | Clinic | Ear, Nose & Throat Specialty Care - St. Paul | St. Paul | MN | [6 empty] | 1
1311 | Dental Office | Edlund Dental, LLC | St. Paul | MN | [6 empty] | 1
49 | Hospital | Gillette Children's Specialty Healthcare | St. Paul | MN | 2 | [5 empty] | 1 | 1
1308 | Dental Office | Great River Dental, PA | St. Paul | MN | [6 empty] | 1
1239 | Dental Office | Groveland Dental, PA | St. Paul | MN | [6 empty] | 1
1242 | Dental Office | HealthPartners - Como Clinic Dental | St. Paul | MN | [6 empty] | 1
1171 | Dental Office | Mark Malterud, DDS, PA | St. Paul | MN | [6 empty] | 1
1250 | Dental Office | Mendes Family Dentistry | St. Paul | MN | [6 empty] | 1
10 | Hospital | M Health Fairview Bethesda Hospital | St. Paul | MN | [6 empty] | 1
1752 | Dental Office | Midtling Oral & Maxillofacial Surgery, PA | St. Paul | MN | [6 empty] | 1
1030 | Dental Office | Minnesota Craniofacial Center, P.C. | St. Paul | MN | [6 empty] | 1
1827 | Dental Office | Minnesota Head & Neck Pain Clinic - St. Paul | St. Paul | MN | [6 empty] | 1
1094 | Dental Office | Nina D. Thai, DDS | St. Paul | MN | [6 empty] | 1
1753 | Dental Office | Ramsey County Law Enforcement Center - Health Services | St. Paul | MN | [6 empty] | 1
151 | Hospital | Regions Hospital | St. Paul | MN | 4 |  |  |  | 1 |  | 4 | 1 |  |  | 1
141 | Hospital | Saint Joseph's Hospital | St. Paul | MN | 1 | [5 empty] | 2 |  |  |  | 3
1111 | Dental Office | Sedation & Implant Dentistry | St. Paul | MN | [6 empty] | 1
1203 | Imaging Facility | Spine and Joint Imaging | St. Paul | MN | 1
1370 | Dental Office | St. Anthony Park Dental Care, PLLC | St. Paul | MN | [6 empty] | 1
754 | Clinic | St. Paul Cancer Care Center | St. Paul | MN | [6 empty] | 1
1113 | Dental Office | St. Paul Dental Center | St. Paul | MN | [6 empty] | 1
1847 | Dental Office | St. Paul Family Dentistry | St. Paul | MN | [6 empty] | 1
1856 | Dental Office | St. Paul Oral Surgery - University | St. Paul | MN | [6 empty] | 1
584 | Imaging Facility | St. Paul Radiology Downtown | St. Paul | MN | 2 |  |  |  | 1 |  | 1
749 | Imaging Facility | Summit Orthopedics - Midway | St. Paul | MN | 1
163 | Hospital | United Hospital | St. Paul | MN | 3 | [5 empty] | 5 |  | 1 |  | 2
1016 | Imaging Facility | Voyageur Imaging, LLC | St. Paul | MN | 1
599 | Imaging Facility | Central Minnesota Diagnostic, Inc @ River's Edge Hospital & Clinic | St. Peter | MN | [6 empty] | 1
22 | Hospital | River's Edge Hospital & Clinic | St. Peter | MN |  | 1
1416 | Dental Office | Valley View Dental | St. Peter | MN | [6 empty] | 1
106 | Hospital | Sanford Thief River Falls Medical Center | Thief River Falls | MN | 1 | [5 empty] | 1
763 | Imaging Facility | Shared Medical Technology, Inc. SPECT- F4 @ Sanford Thief River Falls Medical Center | Thief River Falls | MN | [10 empty] | 1
1831 | Dental Office | Bryce A. Bray, DDS | Thief Rvr Fls | MN | [6 empty] | 1
1419 | Dental Office | Prairie Lakes Family Dentistry | Tracy | MN | [6 empty] | 1
156 | Hospital | Sanford Tracy Medical Center | Tracy | MN | [6 empty] | 1
72 | Hospital | Lake View Memorial Hospital | Two Harbors | MN | [6 empty] | 1
1832 | Dental Office | Two Harbors Family Dental | Two Harbors | MN | [6 empty] | 1
1 | Hospital | Avera Tyler | Tyler | MN |  | 1 |  |  |  |  | 1 |  |  |  |  | 1
1146 | Dental Office | Advance Family Dental | Vadnais Heights | MN | [6 empty] | 1
1153 | Clinic | Allina Health Clinic - Vadnais Heights | Vadnais Heights | MN
1385 | Clinic | Otolaryngology Head & Neck Surgery, PA DBA Midwest Ear, Nose, and Throat - Vadnais Heights | Vadnais Heights | MN | [6 empty] | 1
1058 | Imaging Facility | Summit Orthopedics - Vadnais Heights | Vadnais Heights | MN | 1
1020 | Clinic | Urgency Room - Vadnais Heights | Vadnais Heights | MN | 0 |  | 0 |  | 0 |  | 1 |  | 0 |  | 0
167 | Hospital | Essentia Health Virginia | Virginia | MN | 1 | [5 empty] | 1 |  |  |  | 1
1854 | Dental Office | Oral & Maxillofacial Surgical Associates - Virginia | Virginia | MN | [6 empty] | 1
1755 | Dental Office | Range Family Dental, LLC | Virginia | MN | [6 empty] | 1
1059 | Clinic | St. Luke's Duluth Clinic System - Laurentian Medical Clinic | Virginia | MN | [6 empty] | 1
1254 | Dental Office | Virginia Family Dental | Virginia | MN | [6 empty] | 1
1351 | Dental Office | Perry Dental, Ltd. | Wabasha | MN | [6 empty] | 1
133 | Hospital | Saint Elizabeth's Medical Center | Wabasha | MN | [6 empty] | 1
1028 | Dental Office | TJ Schoen Family Dentistry | Wabasha | MN | [6 empty] | 1
589 | Clinic | Lakeview Clinic, Ltd. | Waconia | MN | 1 | [5 empty] | 1
1833 | Dental Office | Regarding Dentistry - Waconia | Waconia | MN | [6 empty] | 1
168 | Hospital | Ridgeview Medical Center | Waconia | MN | 2 | [5 empty] | 3 |  | 1
721 | Clinic | Twin Cities Orthopedics - Waconia | Waconia | MN
860 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Tri-County Hospital | Wadena | MN | 1 | [5 empty] | 1 |  |  |  | 1
157 | Hospital | Tri-County Health Care | Wadena | MN
1241 | Dental Office | Woodland Dental | Wadena | MN | [6 empty] | 1
169 | Hospital | North Valley Health Center | Warren | MN | [6 empty] | 1
1313 | Dental Office | Lake Family Dental | Warroad | MN | [6 empty] | 1
170 | Hospital | Mayo Clinic Health System in Waseca | Waseca | MN | [6 empty] | 1
1765 | Dental Office | Watertown Dental | Watertown | MN | [6 empty] | 1
1232 | Dental Office | Family & Cosmetic Gentle Dentistry - Wayzata | Wayzata | MN | [6 empty] | 1
1156 | Dental Office | Lake Minnetonka Dental | Wayzata | MN | [6 empty] | 1
1101 | Dental Office | Oral & Max. Surgical Consultants, PA - Wayzata | Wayzata | MN | [6 empty] | 1
592 | Clinic | Park Nicollet Clinic Wayzata | Wayzata | MN | 1 | [5 empty] | 1
1858 | Dental Office | The Dental Specialists - Deephaven | Wayzata | MN | [6 empty] | 1
1172 | Dental Office | Wayzata Endodontics, P.A. | Wayzata | MN | [6 empty] | 1
1786 | Dental Office | Wayzata Family Dentistry | Wayzata | MN | [6 empty] | 1
1173 | Dental Office | Wayzata Periodontics & Implants | Wayzata | MN | [6 empty] | 1
35 | Hospital | Sanford Westbrook Medical Center | Westbrook | MN | [6 empty] | 1
1371 | Dental Office | AccessPoint Dental | West St. Paul | MN | [6 empty] | 1
1240 | Dental Office | Affordable Dentures & Implants - West St. Paul | West St. Paul | MN
1783 | Dental Office | Aspen Dental - West St. Paul | West St. Paul | MN | [6 empty] | 1
1247 | Dental Office | Cherokee Dental | West St. Paul | MN | [6 empty] | 1
1834 | Dental Office | Menon Periodontics and Implants, LLC | West St. Paul | MN | [6 empty] | 1
939 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Sanford Wheaton Medical Center | Wheaton | MN | [6 empty] | 1
174 | Hospital | Sanford Wheaton Medical Center | Wheaton | MN
1757 | Dental Office | Minnesota Periodontal Associates | White Bear Lake | MN | [6 empty] | 1
1776 | Dental Office | White Bear Lake Endodontics | White Bear Lake | MN | [6 empty] | 1
1314 | Dental Office | White Bear Smiles, PA | White Bear Lake | MN | [6 empty] | 1
677 | Clinic | Affiliated Community Medical Center - Willmar | Willmar | MN | 1 | [5 empty] | 1 |  |  |  | 1
118 | Hospital | Carris Health - Rice Memorial Hospital | Willmar | MN | 1 |  |  |  | 1 |  | 1 |  |  |  | 1
973 | Imaging Facility | Center for Diagnostic Imaging - Willmar | Willmar | MN
1427 | Dental Office | Great River Endodontics, PA - Willmar | Willmar | MN | [6 empty] | 1
1261 | Dental Office | Lakes Area Dental | Willmar | MN | [6 empty] | 1
676 | Dental Office | Oral Facial Surgery, PA | Willmar | MN | [6 empty] | 1
1758 | Dental Office | West Central Dental | Willmar | MN | [6 empty] | 1
990 | Imaging Facility | Willmar Imaging & Diagnostic Center, LLC | Willmar | MN | [6 empty] | 1
176 | Hospital | Windom Area Health | Windom | MN | [6 empty] | 1
1029 | Dental Office | Gundersen Lutheran - Winona | Winona | MN | [6 empty] | 1
1434 | Clinic | Gundersen Winona Campus | Winona | MN | [6 empty] | 1
1092 | Dental Office | Mork Dental | Winona | MN | [6 empty] | 1
27 | Hospital | Winona Health Services | Winona | MN | 1 | [5 empty] | 1 |  | 1
1835 | Dental Office | Zehren Dental | Winona | MN | [6 empty] | 1
693 | Clinic | Allina Medical Clinic - Woodbury | Woodbury | MN | 1 | [5 empty] | 1
773 | Imaging Facility | Center for Diagnostic Imaging - Woodbury Cornerstone | Woodbury | MN | 2 | [5 empty] | 1 |  |  |  | 1
1078 | Dental Office | Creekview Dental, PA | Woodbury | MN | [6 empty] | 1
1845 | Dental Office | Hensler and Kocian Orthodontics - Woodbury | Woodbury | MN | [6 empty] | 1
1759 | Dental Office | Horton Orthodontics | Woodbury | MN
1836 | Dental Office | Imagine Your Smile | Woodbury | MN | [6 empty] | 1
1043 | Dental Office | Metropolitan Endodontics - Woodbury | Woodbury | MN | [6 empty] | 1
1160 | Dental Office | Minnesota Orthodontics - Woodbury | Woodbury | MN | [6 empty] | 1
1437 | Clinic | Otolaryngology, Head & Neck Surgery, P.A. DBA Midwest Ear, Nose & Throat Specialists - Woodbury | Woodbury | MN | [6 empty] | 1
1766 | Dental Office | Pioneer Properties - c/o TCO - Woodbury | Woodbury | MN | [6 empty] | 1
1196 | Dental Office | Powell Family Dental | Woodbury | MN | [6 empty] | 1
751 | Imaging Facility | Summit Orthopedics - Woodlake | Woodbury | MN | 1 | [5 empty] | 1
692 | Dental Office | The Oral Surgery Center - Woodbury | Woodbury | MN | [6 empty] | 1 | 0
1315 | Clinic | TRIA Orthopaedic - Woodbury | Woodbury | MN | 1
1769 | Dental Office | Twin Cities Oral & Maxillofacial Surgery, P.A. - Woodbury | Woodbury | MN
1407 | Clinic | Twin Cities Orthopedics - Woodbury | Woodbury | MN | 1 | [5 empty] | 1
538 | Clinic | Urgency Room - Woodbury | Woodbury | MN | [6 empty] | 1
1837 | Dental Office | Woodbury Dental Arts, PA | Woodbury | MN | [6 empty] | 1
187 | Hospital | Woodwinds Health Campus | Woodbury | MN | 1 | [5 empty] | 2 |  |  |  | 1
177 | Hospital | Sanford Worthington Medical Center | Worthington | MN | 1 | [5 empty] | 1
1760 | Dental Office | Spencer & Lakes Regional Oral & Maxillofacial Surgery, PC | Worthington | MN | [6 empty] | 1
861 | Imaging Facility | Central Minnesota Diagnostic, Inc @ Fairview Lakes Regional Medical Center | Wyoming | MN | 1 | [9 empty] | 1
186 | Hospital | M Health Fairview Lakes Medical Center | Wyoming | MN | [6 empty] | 2
|  |  | Totals |  | 245 | 40 | 4 | 0 | 21 | 9 | 772 | 13 | 22 | 0 | 70 | 22
**Mercy Hospital in Coon Rapids includes all data from the hospitals previously under separate licenses (2016 and prior) as Mercy Hospital - Coon Rapids and Unity Hospital - Fridley.
***Mayo Clinic Health System - Albert Lea includes all data from the hospitals previously under separate licenses (2014 and prior) as Mayo Clinic Health System - Albert Lea and Mayo Clinic Health System - Austin.
****Mayo Clinic Hospital - Rochester includes all data from the hospitals previously under separate licenses (2013 and prior) as Mayo Clinic Methodist Hospital and Saint Marys Hospital.
*****Children's Health Care dba Children's Hospitals and Clinics of Minnesota includes all data from the hospitals previously under separate licenses (2010 and prior) as Children's Health Care - St. Paul and
Children's Health Care - Minneapolis.